## Sheet1
|  |  | (225 GHz) |  |  |  |  | Used | Used | Used | X-Strt | Y-Strt | X-Stp | Y-Stp | Init HWP pos | Step HWP | Scan | Meas. | Meas. | Meas. | Meas. |  | int time/hwp | RAO/FIELD | DECO/FIELD
Scan# | Comments | UT | CSO tau | Airmass | AZ | ZA | Par. Ang. | FAZO | FZAO | FOC/OFF | [6 empty] | Pattern | Sig. | FAZO | FZAO | FWHM | Chop th | (sec)
Scan patterns:
s2= sweep 10 10 /yamp =10 /yper=14.142 /alt
s3= sweep 10 20 /yamp =10 /yper=28.284 /alt | [6 empty] | row 1 | Chop PIDG parameters: |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We have new PIDG values were P=1.6; I=3.7; D=4.6; G=4.2
s4= sweep 20 20 /yamp =10 /yper=14.142 /alt | [6 empty] | row 2 |  |  |  | For 120" |  | UIP Cmnd: "sec 120 0.925925925 4 4" |  |  |  | In the past the PIDG values were P=2.0; I=4.4; D=4.6; G=4.2
s5= sweep 30 20 /y 20 14.142 /alt |  | NOTE THIS IS NEW SYNTAX 2009 |  |  |  |  | row 3 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We have new PIDG values were P=1.62; I=3.56; D=4.71; G=4.22
s6= sweep 80 20/ yamp =80 /yper=28.28 /alt | [6 empty] | row 4 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We successfully tested the PIDG values from computer P=1.6; I=3.9; D=4.6; G=4.2
(used successfully September 2009)
s7= sweep 10 20 /yamp = 10 /yper=14.142 /alt | [6 empty] | row 5 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We successfully tested the PIDG values from computer P=2.0; I=4.4; D=4.6; G=4.2
s8= sweep 45 20 /yamp = 45 /yper =14.142 /alt | [6 empty] | row 5 | [9 empty] | (last tested January 2009 - but these failed to work in September 2009)
s9= sweep 20 20 /yamp=20 /yper = 14.142 /alt | [10 empty] | For 180" |  | UIP Cmnd: "sec 180 0.925925925 4 4" |  |  |  | We successfully tested the PIDG values from computer P=1.70; I=4.2; D=4.6; G=4.2
s10= Box_scan 228.571 240 20.0 45
Date (yyyy-mm-dd): | 2010 March 27 UT
Observers: | MZ, GN
Observing conditions: | tau is low but clouds (not cirrus) are overhead
Comments:
| Dome fully open | 11:15
| Set heaters to 20V each, b/c temp = +1C | 12:00
| Moved to ZA 45 | 12:00
| Put covers on boxes 1, 3 and 4 | 12:40
| DSOS ready, chopper working with 180 arcsec chop | 13:00
50042 | Cal_G45.1 scan, pointing and focusing | 13:25 | 0.039 | 1.794 | 90 | 55 | -73 | -84 | 82 | -0.5 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
50043 | Cal_G45.1 scan, pointing and focusing | 13:35 | 0.04 | 1.677 | 91 | 53 | -73 | -94 | 86 | -0.5
50044 | Cal_G45.1 scan, pointing and focusing | 13:39 | 0.026 | 1.649 | 91 | 52 | -73 | -94 | 86 | -0.7
50045 | Cal_G45.1 scan, pointing and focusing | 13:45 | 0.026 | 1.593 | 92 | 51 | -73 | -94 | 86 | -0.3
50046 | Cal_G45.1 scan, pointing and focusing | 13:55 | 0.05 | 1.525 | 92 | 49 | -73 | -94 | 86 | -0.1
50047 | Cal_G45.1 scan, pointing and focusing | 13:59 | 0.025 | 1.495 | 93 | 48 | -73 | -94 | 86 | 0.1
50048 | Cal_G45.1 scan, pointing and focusing | 14:03 | 0.025 | 1.455 | 94 | 46 | -73 | -94 | 86 | 0.3
50049 | L483, pointing | 14:14 | 0.038 | 1.29 | 125 | 39 | -50 | -94 | 86 | -0.15 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
50050 | L483, polarimetry single file | 14:26 | 0.046 | 1.25 | 129 | 37 | -48 | -92 | 90 | -0.15 |  |  |  |  | 50 | 22.5 | [5 empty] | 180 | 90
50051-54 | L483, polarimetry coarse dither | 14:35 | 0.031 | 1.22 | 132 | 35 | -45 | -92 | 90 | -0.15 |  |  |  |  | 50 | 22.5 | [5 empty] | 178 | 90
50055-58 | L483, polarimetry coarse dither | 15:05 | 0.039 | 1.162 | 141 | 30 | -36 | -92 | 90 | -0.15 |  |  |  |  | 50 | 22.5 | [5 empty] | 180 | 90
Note: while we were taking data on our focus
source, I saw what looked like the corner shadow
on the IRC
it would drift in over a few minutes and had
the curvature expected for the corner shadow
and was in both subarrays
then it was gone when we went to L483
Note : leveling is almost not required
Note: analog offset of 3 degrees on HWP output
Note: angles typically off by 2 degrees
Note: temp is zero degress so I should bump heat
to 22 V but I don't dare mess with the systematics
as they appear to be so good
Note: 58 was especially noisy / had a lot of yellow
Mostly in the H subarray.
50059-62 | L483, polarimetry coarse dither | 15:35 | 0.065 | 1.12 | 155 | 27 | -23 | -92 | 90 | -0.15 |  |  |  |  | 50 | 22.5 | [5 empty] | 180 | 90
Note: DSOS has been perfect
Leveling for last coarse dither extremely good
50063 | L483, pointing | 16:07 | 0.037 | 1.1 | 173 | 24 | -7 | -94 | 90 | -0.15 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
results of last pointing check: (-94, 84)
checked level of box 4 - it tilts down 0.1 degree
checked position of box 1: it is recessed on front side by 2.375 inches with respect to box 0
checked position of HWP :