## Sheet1
|  |  | (225 GHz) |  |  |  |  | Used | Used | Used | X-Strt | Y-Strt | X-Stp | Y-Stp | Init HWP pos | Step HWP | Scan | Meas. | Meas. | Meas. | Meas. | Chop | int time/hwp | RAO/FIELD | DECO/FIELD
Scan# | Comments | UT | CSO tau | Airmass | AZ | ZA | Par. Ang. | FAZO | FZAO | FOC/OFF | [6 empty] | Pattern | Signal | FAZO | FZAO | FWHM | Throw | (sec)
Scan patterns:
s2= sweep 10 10 /yamp =10 /yper=14.142 /alt | [6 empty] | row 0 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | Used P=1.6; I=3.9; D=4.6; G=4.2 (Sept 2010; Dec 2011)
s3= sweep 10 20 /yamp =10 /yper=28.284 /alt | [6 empty] | row 1 | Chop PIDG parameters: |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We have new PIDG values were P=1.6; I=3.7; D=4.6; G=4.2
s4= sweep 20 20 /yamp =10 /yper=14.142 /alt | [6 empty] | row 2 |  |  |  | For 120" |  | UIP Cmnd: "sec 120 0.925925925 4 4" |  |  |  | In the past the PIDG values were P=2.0; I=4.4; D=4.6; G=4.2
s5= sweep 30 20 /y 20 14.142 /alt |  | NOTE THIS IS NEW SYNTAX 2009 |  |  |  |  | row 3 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We have new PIDG values were P=1.62; I=3.56; D=4.71; G=4.22
s6= sweep 80 20/ yamp =80 /yper=28.28 /alt | [6 empty] | row 4 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We successfully tested the PIDG values from computer P=1.6; I=3.9; D=4.6; G=4.2
(used successfully September 2009)
s7= sweep 10 20 /yamp = 10 /yper=14.142 /alt | [6 empty] | row 5 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We successfully tested the PIDG values from computer P=2.0; I=4.4; D=4.6; G=4.2
s8= sweep 45 20 /yamp = 45 /yper =14.142 /alt | [6 empty] | row 5 | [9 empty] | (last tested January 2009 - but these failed to work in September 2009)
s9= sweep 20 20 /yamp=20 /yper = 14.142 /alt | [6 empty] | row 6 |  |  |  | For 180" |  | UIP Cmnd: "sec 180 0.925925925 4 4" |  |  |  | We successfully tested the PIDG values from computer P=1.70; I=4.2; D=4.6; G=4.2
s10= Box_scan 228.571 240 20.0 45 | [6 empty] | row 7 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We used new PIDG values: P=1.6; I=3.8; D=4.8; G=4.2
s11= sweep 5 5 /yamp =5 /yper=14.142 /alt
Date (yyyy-mm-dd): | 2013 Nov 21 UT
Observers: | Patrick Koch, Simon, Ya-Wen Tang
Observing conditions: | Temp 4 C, tau 0.14
Comments: | Practice observing, instrument warm, dome closed
UT 3:45, opened dome; @UT4:11, ZA=44, Tau=0.14
Using Peter's test version of HWP.
Errors/Solutions | DSP gave an error. It said the "DSP clock is not ticking." First we tried "conf4290," as suggested in cheat sheet, but this gave us even more errors. It could not find 4290.
Then we tried to hard reset. Trying "conf4290" again. This is working. Now sharcDSP works.
DSOSDaemon is no longer under "./DSOSDaemon". It is now in the regular path. Just type "DSOSDaemon" for step 3.8 on the Cheat Sheet. Also same for "DSOSServer"
58326 | Uranus, pointing | 6:11 | 0.061 | 1.095 | 138 | 23 | -38 | -84 | 82 | -0.5 | [6 empty] | s5
Looks like there are 2 planets. Probably bad file
END OF SHARP OBSERVING
Date (yyyy-mm-dd): | 2013 Nov 23 UT6:12
Observers: | Patrick Koch, Ya-Wen Tang
Observing conditions: | Temp -0.6 C, tau 0.08
Comments: | HWP heaters: set to 22V
note: HWP staircase shows ~2, ~4, ~10, ~34; consistent in all 4 dither data sets for the entire night
12:31: after error 'zero good pixels' we moved back to L1551 which is at higher ZA (>20)
stopped observation when airmass ~2, tau still good around 0.08
Errors/Solutions | Left power supply for HWP heater: voltage reading seems broken/ does not change when turning knob;
Verified and adjusted voltage with external multimeter
59743 | Uranus, pointing, focus | 7:15 | 0.08 | 1 |  |  |  | -95.6 | 83.8 | -0.1
59746 | Cal_L1551, pointing | 7:30 | 0.08 | 1.4 | 83.7 | 45.5 |  | -95.6 | 83.8 | -0.1
59748-51 | L1551_IRS5 coarse dither | ~7:50 | 0.1 | 1.27 | ~85 | ~40 |  | -95.6 | 83.8 | -0.1 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
59752-55 | L1551_IRS5 coarse dither | 8:50 | 0.08 | 1.1 | 89 | 26 |  | -95.6 | 83.8 | -0.1 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
59757-60 | L1551_IRS5 coarse dither | 9:21 | 0.09 | 1.1 | 91 | 19 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: error: 'zero good pixels in right' for files 58-60
59761-64 | L1551_IRS5 coarse dither | 9:51 | 0.07 | 1 | 95 | 12 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: error: zero good pixels in right for files 61-64
59765 | cal_gl490, pointing | 10:23 | 0.07 | 1.3 | -9 | 39 |  | -95.6 | 83.8 | -0.1
note: tau improved, switching to L1448 IRS2a
59766-69 | L1448 IRS2a coarse dither | 10:31 | 0.05 | 1 | -45 | 16 |  | -95.6 | 83.8 | -0.1 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
note: error: zero good pixels in files 66-69
59770 | OH231.8, pointing | 11:09 | 0.06 | 1.7 | 127 | 53 |  | -93.3 | 86 | -0.1
59772-75 | NGC 2264.1 coarse dither | 11:24 | 0.07 | 1.1 | 111 | 25 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
Note: 72, 73 ok, 74, 75 with 'zero good pixels'
59776-79 | NGC 2264.1 coarse dither | 11:53 | 0.06 | 1.1 | 123 | 18 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: error: zero good pixels in files 76-79
59780 | Cal_L1551, pointing | 12:24 | 0.06 | 1.1 | 270 | 24 |  | -93.3 | 86 | -0.1
59781-84 | L1551_IRS5 coarse dither | 12:31 | 0.07 | 1.1 | 270 | 25 |  | -93.3 | 86 | -0.1 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
59785-88 | L1551_IRS5 coarse dither | 13:01 | 0.06 | 1.2 | 273 | 32
59789-92 | L1551_IRS5 coarse dither | 13:30 | 0.07 | 1.3 | 275 | 39
59793 | OH231.8, pointing | 14:01 | 0.07 | 1.2 | 183 | 34
59794-97 | NGC 2264.1 coarse dither | 14:08 | 0.07 | 1.1 | 243 | 21 |  | -93.3 | 86 | -0.1 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
59798-59801 | NGC 2264.2 coarse dither | 14:36 | 0.07 | 1.1 | 251 | 27 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59802-59805 | NGC 2264.2 coarse dither | 15:04 | 0.08 | 1.2 | 257 | 33 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59806-59809 | NGC 2264.2 coarse dither | 15:32 | 0.08 | 1.3 | 261 | 39 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59810-59813 | NGC 2264.2 coarse dither | 16:01 | 0.08 | 1.5 | 264 | 46 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59814-59817 | NGC 2264.2 coarse dither | 16:30 | 0.09 | 1.7 | 267 | 53 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59818-59821 | NGC 2264.2 coarse dither | 16:58 | 0.08 | 2 | 270 | 60 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
Date (yyyy-mm-dd): | 2013 Nov 24 UT5:24
Observers: | Ya-Wen Tang, Patrick Koch
Observing conditions: | Temp 0.0 C, tau 0.08
Comments: | HWP heaters: set to 22V
note: HWP staircase shows steps around 1, 4, 10, 25 deg for most files
Errors/Solutions | FAZO, FZAO and FOC/OFF were found with different (default?) values at beginning of run
e.g. FOC/OFF =-0.5 (last observation the night before with -0.1)
verified pointing and focus on Uranus from previous night
59825 | Uranus, pointing, focus | 5:35 | 0.08 | 1.1 | 138 | 22 |  | -95.6 | 83.8 | -0.1
59827 | cal_gl490, pointing | 5:51 | 0.08 | 1.8 | 31 | 56
note: pointing source not clearly visible (FWHM: 54”)
will switch to brighter source, tau marginal
59828 | Cal_L1551, pointing | 6:00 | 0.09 | 2.4 | 79 | 65
59829 | Cal_L1551, pointing | 6:08 | 0.08 | 2.3 | 79 | 64
note: no image of pointing source (airmass too large ?)
will start to integrate on source when airmass ~ 2
59830-59833 | L1551_IRS5 coarse dither | 6:19 | 0.08 | 2.1 | 80 | 61 |  | -95.6 | 83.8 | -0.1 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
59834 | L1551_IRS5 single file | 6:48 | 0.07 | 1.7 | 81 | 54 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59835 | Cal_L1551, pointing | 7:05 | 0.08 | 1.6 | 82 | 50
note: forgot to reset az /chop 0 (no detection)
59836 | Cal_L1551, pointing (chopper set to 0) | 7:12 | 0.08 | 1.5 | 83 | 49 |  | -89.9 | 86 | -0.1
59837 | Cal_L1551, pointing | 7:18 | 0.07 | 1.5 | 83 | 47 |  | -95.6 | 83.8 | -0.1
note: tau seems to drop, will switch to L 1551-NE
59838-59841 | L1551-NE coarse dither | 7:29 | 0.07 | 1.4 | 84 | 45 |  | -95.6 | 83.8 | -0.1 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
59842-59844 | L1551-NE coarse dither | 7:57 | 0.06 | 1.3 | 86 | 38 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: accidentally leveled hardware before completion of last dither file (only 3 files in this run)
59845-59848 | L1551-NE coarse dither | 8:21 | 0.06 | 1.2 | 87 | 30 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59849-59852 | L1551-NE coarse dither | 8:49 | 0.07 | 1.1 | 89 | 26 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: updated chop throw to 298
59853 | cal_gl490, pointing | 9:19 | 0.07 | 1.3 | 3.6 | 39 |  | -95.6 | 83.8 | -0.1
59854-59857 | NGC 2264.4 coarse dither | 9:37 | 0.06 | 1.5 | 95 | 47 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: moved to this source because all remaining sources are either at ZA<20, or have bad PA
59858-59861 | NGC 2264.4 coarse dither | 10:05 | 0.07 | 1.3 | 99 | 41 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59862-59865 | NGC 2264.4 coarse dither | 10:32 | 0.06 | 1.2 | 103 | 34 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59866-59869 | NGC 2264.1 coarse dither | 11:02 | 0.07 | 1.1 | 108 | 28 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: zero good pixels in first left in file 66
59870 | cal_gl490 pointing | 11:35 | 0.06 | 1.4 | -21 | 44 |  | -95.6 | 83.8 | -0.1
59871-74 | L1448 IRS2a coarse dither | 11:41 | 0.06 | 1.2 | -63 | 30 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: zero good pixels in first left in file 71
note: input Zenith angle (304 deg) is wrong
59875-78 | L1448 IRS2a coarse dither | 12:10 | 0.06 | 1.3 | -64 | 36 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59879-82 | L1448 IRS2a coarse dither | 12:38 | 0.05 | 1.4 | -65 | 42 | [6 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59883-86 | L1551 IRS5 coarse dither | 13:08 | 0.05 | 1.2 | -86 | 35 | 81 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: initial PA ~ 81
59887 | VY-CMA, pointing | 13:51 | 0.06 | 1.4 | 187 | 46 | 7 | -95.6 | 83.8 | -0.1
59888-91 | NGC 2264.1 coarse dither | 14:00 | 0.05 | 1.1 | 242 | 20 | 57 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59892-95 | NGC 2264.1 coarse dither | 14:28 | 0.06 | 1.1 | 250 | 26 | 64 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59896-99 | NGC 2264.3 coarse dither | 14:56 | 0.06 | 1.2 | 256 | 32 | 68 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59900-03 | NGC 2264.3 coarse dither | 15:25 | 0.07 | 1.3 | 260 | 39 | 70 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59904-07 | NGC 2264.3 coarse dither | 15:53 | 0.07 | 1.4 | 264 | 45 | 71 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59908-11 | NGC 2264.3 coarse dither | 16:21 | 0.05 | 1.6 | 267 | 52 | 72 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
Date (yyyy-mm-dd): | 2013 Nov 25 UT5:11
Observers: | Ya-Wen Tang, Patrick Koch
Observing conditions: | Temp 3.0 C, tau 0.09
Comments: | HWP heaters: set to 15 V
note: HWP staircase shows steps around 1, 4, 10, 25 deg like previous night, but with more noise
Errors/Solutions | FAZO, FZAO and FOC/OFF were found with different (default?) values at beginning of run
e.g. FOC/OFF =-0.5 (last observation the night before with -0.1)
verified pointing and focus on Uranus from previous night
File 59960 - 59965
IDL error message: “ffopen cannot interpret primary array header of file” when running dointeg;
found that all files were empty -> sharcserver message: no space left on device -> Simon erased some files
59912 | Uranus, pointing, focus | 5:13 | 0.09 | 1.1 | 127 | 27 | -49 | -100.3 | 83.9 | -0.1
59921 | Cal_L1551, pointing | 7:15 | 0.09 | 1.5 | 83 | 46 | -79 | -97.4 | 89.8 | -0.1
59922-25 | L1551_IRS5 coarse dither | 7:21 | 0.09 | 1.4 | 84 | 46 | -80 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59926 | Cal_L1551, pointing | 7:52 | 0.09 | 1.3 | 85 | 38 | -81
note: forgot to reset az /chop 0 (no detection)
59927-30 | L1551_IRS5 coarse dither | 8:00 | 0.09 | 1.2 | 86 | 36 | -81 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59931-34 | L1551_IRS5 coarse dither | 8:29 | 0.09 | 1.2 | 88 | 30 | -82 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59935-38 | L1551_IRS5 coarse dither | 8:57 | 0.09 | 1.1 | 90 | 23 | -82 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59939-42 | NGC 2264.4 coarse dither | 9:27 | 0.09 | 1.5 | 95 | 48 | -72 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59943-46 | NGC 2264.4 coarse dither | 9:58 | 0.1 | 1.3 | 98 | 41 | -71 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59947-50 | NGC 2264.4 coarse dither | 10:26 | 0.1 | 1.2 | 102 | 35 | -69 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59951 | VY-CMA, pointing | 10:58 | 0.1 | 1.9 | 140 | 58 | -42
note: pointing source not detected in map
59952 | OH231.8, pointing | 11:02 | 0.1 | 1.7 | 128 | 53 | -50 | -97.4 | 89.8 | -0.1
note: pointing source not detected in map
59953 | G240, pointing | 11:07 | 0.1 | 1.9 | 137 | 59 | -45
note: pointing source not detected in map
59954 | Jupiter, pointing | 11:20 | 0.1 | 1.1
note: detected in map
59955 | VY-CMA, pointing -> no detection | 11:27 | 0.1 | 1.7 | 146 | 54 | -35
| G240, pointing | 11:34 | 0.1 | 1,7 | 142 | 55 | -40
note: increased integration time to 300 s, weak detection
59957 | G240, pointing | 11:40 | 0.1 | 1.7 | 144 | 54 | -38 | -94.2 | 84.1 | -0.1
note: increased integration time to 600 s, clear detection
59958-61 | G240, coarse dither | 11:55 | 0.1 | 1.6 | 147 | 52 | -35 | -94.2 | 84.1 | -0.1 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
59962-65 | G240, coarse dither | 12:22 | 0.1 | 1.5 | 154 | 48 | -28 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: updated chop throw to 299
note: starting from file 60 “ffopen cannot interpret primary array header of file”
note: temperature around 1.5 deg -> changed HWP heater to 20 V
59969 | G240, pointing (integration time 300 s) | 14:12 | 0.09 | 1.4 | 188 | 44 | 8 | -94.2 | 84.1 | -0.1
note: cross-checking after removal of files to solve disk space problem
59970-73 | G240, coarse dither | 14:19 | 0.09 | 1.4 | 190 | 44 | 10 | -94.2 | 84.1 | -0.1 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
59974-77 | G240, coarse dither | 14:49 | 0.1 | 1.4 | 199 | 46 | 20 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59978-81 | NGC 2264.3 coarse dither | 15:19 | 0.09 | 1.3 | 260 | 38 | 70 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59982-85 | NGC 2264.3 coarse dither | 15:47 | 0.1 | 1.4 | 264 | 45 | 71 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
59986-89 | NGC 2264.2 coarse dither | 16:15 | 0.1 | 1.6 | 267 | 51 | 72 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
Date (yyyy-mm-dd): | 2013 Nov 26 UT5:11
Observers: | Ya-Wen Tang, Patrick Koch together with Hiroko, Carmen and Lei until UT 9
Observing conditions: | Temp 4.0 C, tau 0.09
Comments: | HWP heaters: set manually to 15 V; powered on remotely; increased voltage to 22 V around UT14:30 when temperature dropped to 1 deg
staircase: until file 60045: HWP staircase shows steps around 50, 70, 95, 115;
after that, staircase seems to settle around 1, 5, 17 and 30, with more or less noise
Errors/Solutions | FAZO, FZAO and FOC/OFF were found with different (default?) values at beginning of run
e.g. FOC/OFF =-0.5 (last observation the night before with -0.1)
Adjusted focus on Uranus
note: file 60021: error message “server error: null – check server log and status'' pop-up window ?
file 60070 error message: “server error: null – check server log and status”
59998 | Uranus, pointing, focus | 5:25 | 0.09 | 1.1 | 133 | 23 | -43 | -84 | 82 | -0.5
59999 | Uranus, pointing, focus | 5:33 | 0.08 | 1.1 | 138 | 22 | -39 | -100.3 | 83.9 | -0.1
60000 | Uranus, pointing, focus | 5:40 | 0.09 | 1.1 | 141 | 21 | -36 | -100.3 | 83.9 | -0.2
600001 | Uranus, pointing, focus | 5:46 | 0.09 | 1.1 | 145 | 20 | -33 | -96.1 | 88.8 | -0.3
60002 | Uranus, pointing, focus | 5:52 | 0.09 | 1 | 148 | 20 | -30 | -96.1 | 88.8 | -0.4
60003 | Uranus, pointing, focus | 5:57 | 0.09 | 1.1 | 151 | 19 | -27 | -96.1 | 88.8 | -0.5
note: settling on focus offset: -0.4
60004 | Cal_L1551, pointing : no source detected | 6:22 | 0.1 | 1.9 | 80 | 58 | -77 | -96.1 | 88.8 | -0.4
60005 | Cal_L1551, pointing | 6:27 | 0.1 | 1.9 | 81 | 57 | -78
note: increased integration time to 300 s, weak detection
60006-09 | L1551_IRS5 coarse dither | 6:40 | 0.1 | 1.7 | 81 | 55 | -78 | -96.1 | 88.8 | -0.4 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
60010 | Cal_L1551, pointing | 7:08 | 0.09 | 1.5 | 83 | 48 | -79 | -96.1 | 88.8 | -0.4
note: forgot to reset az /chop 0 (no detection)
60011 | Cal_L1551, pointing | 7:14 | 0.09 | 1.5 | 84 | 46 | -80 | -96.1 | 88.8 | -0.4
60012 | Cal_L1551, pointing | 7:22 | 0.09 | 1.4 |  |  |  | -95.6 | 92 | -0.4
note: increased integration time to 300 s, clear detection
60013-16 | L1551_IRS5 coarse dither | 7:31 | 0.08 | 1.4 | 84 | 43 | -80 | -95.6 | 92 | -0.4 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
60017-20 | L1551_IRS5 coarse dither | 8:00 | 0.09 | 1.2 | 86 | 36 | -81 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60021-24 | L1551_IRS5 coarse dither | 8:28 | 0.08 | 1.1 | 88 | 29 | -82 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
note: forgot to update ZA, updated ZA after 'hitting run
note: file 60021: error message 'server error' pop-up window
60025-28 | NGC 2264.4 coarse dither | 9:14 | 0.07 | 1.6 | 94 | 51 | -72 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60029 | OH231.8, pointing | 9:44 | 0.08 | 2.7 | 116 | 68 | -61
60030-33 | G240, coarse dither | 9:50 | 0.08 | 3.2 | 125 | 72 | -58 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60034-37 | G240, coarse dither | 10:23 | 0.08 | 2.5 | 130 | 66 | -53 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60038-41 | G240, coarse dither | 10:56 | 0.07 | 2 | 135 | 60 | -47 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60042-45 | G240, coarse dither | 11:24 | 0.06 | 1.8 | 140 | 55 | -41 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60046-49 | G240, coarse dither | 11:53 | 0.08 | 1.6 | 147 | 51 | -34 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60050-53 | G240, coarse dither | 12:22 | 0.07 | 1.5 | 155 | 48 | -26 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60054-57 | G240, coarse dither | 12:51 | 0.07 | 1.4 | 163 | 46 | -18 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60058-61 | G240, coarse dither | 13:22 | 0.07 | 1.4 | 173 | 44 | -8 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60062 | OH231.8, pointing | 13:51 | 0.07 | 1.2 | 184 | 34 | 4
60063-66 | NGC 2264.3 coarse dither | 13:57 | 0.07 | 1.1 | 243 | 21 | 59 | -98.1 | 89.7 | -0.4 |  |  | UIP Cmnd: "sec 300 0.925925925 4 4"
note: likely not useful data, forgot to stop sweeping
60067-70 | NGC 2264.3 coarse dither | 14:26 | 0.07 | 1.1 | 252 | 27 | 65
note: temperature dropped to 1 deg, changed HWP heater voltage to 22 V
note: file 70 error message: server error: null – check server log and status
60071-74 | NGC 2264.3 coarse dither | 14:55 | 0.07 | 1.2 | 257 | 34 | 68 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60075-78 | NGC 2264.3 coarse dither | 15:25 | 0.08 | 1.3 | 262 | 41 | 71 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60079-82 | NGC 2264.3 coarse dither | 15:54 | 0.07 | 1.5 | 265 | 47 | 72 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60083-86 | NGC 2264.1 coarse dither | 16:22 | 0.07 | 1.7 | 268 | 54 | 72 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
60087-90 | NGC 2264.2 coarse dither | 16:50 | 0.07 | 2 | 270 | 60 | 73 | [5 empty] | UIP Cmnd: "sec 300 0.925925925 4 4"
Date (yyyy-mm-dd): | 2013 Nov 27 UT
Observers: | Hiroko, Carmen, Lei, Simon
Observing conditions: | Temp 6 C, tau 0.054
Comments: | Observing, Dome open
UT 4:20, opened dome; @UT4:32, ZA=45, Tau=0.054
60091 | Uranus, pointing | 5:26 | 0.07 | 1.085 | 136 | 22 | -41 | -84 | 82 | -0.5
60092 | Uranus, pointing | 5:31 | 0.058 | 1.077 | 140 | 21 | -38 | -96 | 89 | -0.5
60093 | Uranus, pointing | 5:37 | 0.058 | 1.074 | 141 | 21 | -36 | -99.5 | 86 | -0.5
60094 | Uranus, pointing | 5:41 | 0.053 | 1.07 | 144 | 20 | -34 | -99 | 85 | -0.4
60095 | Uranus, pointing | 5:44 | 0.053 | 1.066 | 145 | 20 | -32 | -99 | 85 | -0.3
60096 | Uranus, pointing, +4.4C | 5:46 | 0.053 | 1.064 | 147 | 19.6 | -30 | -99 | 85 | -0.6
60097 | Uranus, pointing, +4.9C | 5:50 | 0.059 | 1.062 | 149 | 19 | -29 | -99 | 85 | -0.5
60098 | Uranus, pointing, +4.5C | 5:53 | 0.059 | 1.059 | 152 | 19 | -26 | -99 | 85 | -0.4
60099 | Uranus, pointing, +4.7C, 100s | 5:56 | 0.059 | 1.057 | 154 | 18 | -25 | -99 | 85 | -0.5
60100 | Uranus, pointing, +4.1C, 150s | 6:02 | 0.055 | 1.053 | 158 | 18 | -21 | -99 | 85 | -0.6
60101 | Uranus, pointing, +4.2C, 150s | 6:06 | 0.055 | 1.051 | 161 | 18 | -18 | -99 | 85 | -0.7
60102 | Uranus, pointing, +4.3C, 150s | 6:10 | 0.059 | 1.049 | 164 | 17 | -15 | -99 | 85 | -0.8
60103 | Uranus, pointing, +4.1C, 150s | 6:14 | 0.059 | 1.048 | 167 | 17 | -12 | -99 | 85 | -0.9
60104 | Uranus, pointing, +4.1C, 150s | 6:20 | 0.057 | 1.047 | 171 | 17 | -8 | -99 | 85 | -0.6
60105 | Uranus, pointing, +4.2C, 150s | 6:22 | 0.057 | 1.046 | 174 | 17 | -6 | -99 | 85 | -0.7
60106 | Uranus, pointing, +3.9C, 150s | 6:25 | 0.057 | 1.046 | 176 | 17 | -3 | -99 | 85 | -0.8
60107 | Uranus, pointing, +3.9C, 150s | 6:31 | 0.053 | 1.046 | 182 | 17 | 1 | -99 | 83 | -0.7
60108 | Uranus, pointing, +3.9C, 150s | 6:35 | 0.053 | 1.046 | 185 | 17 | 5 | -99 | 83 | -0.6
60109 | cal_l1551, pointing, +3.9C,150s | 6:44 | 0.057 | 1.652 | 82 | 52 | -78 | -99 | 83 | -0.5
60110 | crl618, pointing, +3.5C,150s | 6:50 | 0.056 | 1.643 | 59 | 52 | -92 | -99 | 83 | -0.5
60111 | cal_l1551, pointing, +3.9C,180s | 6:53 | 0.056 | 1.578 | 83 | 50 | -79 | -99 | 83 | -0.5
60112 | cal_l1551, pointing, +3.9C,250s | 6:59 | 0.051 | 1.536 | 83 | 49 | -79 | -94 | 86 | -0.5
60113 | cal_l1551, pointing, +3.4C,250s | 7:05 | 0.051 | 1.488 | 83 | 47 | -79 | -94 | 86 | -0.6
60114 | cal_l1551, pointing, +3.3C,250s | 7:11 | 0.052 | 1.452 | 84 | 56 | -80 | -94 | 86 | -0.7
60115 | cal_l1551, pointing, +3.9C,250s | 7:16 | 0.052 | 1.419 | 84 | 45 | -80 | -94 | 86 | -0.8
60116 | cal_l1551, pointing, +4.0C,250s | 7:24 | 0.054 | 1.379 | 84 | 43 | -80 | -94 | 86 | -0.9
60117 | cal_l1551, pointing, +3.7C,250s | 7:30 | 0.061 | 1.348 | 85 | 42 | -80 | -94 | 89 | -1.0
60118 | cal_l1551, pointing, +3.6C,250s | 7:36 | 0.061 | 1.316 | 85 | 40 | -80 | -94 | 89 | -1.2
60119 | cal_l1551, pointing, +4.0C,250s | 7:42 | 0.021 | 1.291 | 85 | 39 | -81 | -94 | 89 | -1.4
Note: image faint
60120 | cal_l1551, pointing, +3.7C,250s | 7:49 | 0.066 | 1.263 | 86 | 37 | -81 | -94 | 89 | -1.3
60121 | cal_l1551, pointing, +3.5C,250s | 7:57 | 0.066 | 1.232 | 86 | 35 | -81 | -94 | 89 | -1.5
60122 | cal_l1551, pointing, +3.4C,250s | 8:03 | 0.068 | 1.209 | 87 | 34 | -81 | -94 | 89 | -1.7
60123 | cal_l1551, pointing, +2.9C,250s | 8:09 | 0.067 | 1.191 | 87 | 33 | -81 | -94 | 89 | -1.9
60124 | cal_l1551, pointing, +2.9C,250s | 8:16 | 0.067 | 1.169 | 88 | 31 | -82 | -94 | 89 | -2.1
60125 | cal_l1551, pointing, +2.8C,250s | 8:22 | 0.058 | 1.151 | 88 | 29 | -82 | -94 | 89 | -2.0
60126 | cal_l1551, pointing, +2.9C,250s | 8:30 | 0.054 | 1.133 | 89 | 28 | -82 | -94 | 89 | -1.8
60127 | cal_l1551, pointing, +3.0C,250s | 8:36 | 0.054 | 1.118 | 89 | 26 | -82 | -94 | 89 | -1.9
Note: no source
60128 | cal_l1551, pointing, +3.3C,250s | 8:46 | 0.058 | 1.097 | 90 | 23 | -82 | -94 | 89 | -2.0
60129 | cal_l1551, pointing, +3.1C,250s | 8:53 | 0.063 | 1.082 | 90 | 22 | -82 | -94 | 89 | -1.4
60130 | cal_l1551, pointing, +3.5C,250s | 9:00 | 0.066 | 1.07 | 91 | 20 | -82 | -94 | 89 | -1.9
60131 | cal_l1551, pointing, +3.4C,250s | 9:09 | 0.059 | 1.056 | 92 | 18 | -82 | -94 | 89 | -1.9
Note:tertiary /stow
tertiary /nasmyth2
60132 | cal_l1551, pointing, +3.1C,250s | 9:16 | 0.059 | 1.045 | 92 | 16 | -81 | -94 | 89 | -0.5
60133 | Uranus, pointing, +2.7C, 150s | 9:27 | 0.04 | 1.452 | 254 | 46 | 65 | -94 | 89 | -1.9
60134 | Uranus, pointing, +2.4C, 150s | 9:31 | 0.066 | 1.48 | 255 | 47 | 65 | -94 | 89 | -1.7
60135 | Uranus, pointing, +2.7C, 150s | 9:35 | 0.066 | 1.514 | 256 | 48 | 66 | -99 | 87 | -1.5
60136 | Uranus, pointing, +2.5C, 150s | 9:40 | 0.066 | 1.542 | 256 | 49 | 66 | -99 | 87 | -2.1
60137 | Uranus, pointing, +2.7C, 150s | 9:44 | 0.066 | 1.574 | 257 | 50 | 67 | -99 | 87 | -1.8
Note:no source
60138 | Uranus, pointing, +2.7C, 150s | 9:48 | 0.066 | 1.605 | 257 | 51 | 67 | -99 | 87 | -1.7
60139 | Uranus, pointing, (and focusing above), +3.0C, 150s | 9:52 | 0.066 | 1.645 | 258 | 52 | 67 | -99 | 87 | -1.9
60140 | crl618,pointing,+2.8C, 280s | 10:06 | 0.065 | 1.05 | 22 | 17 | -154 | -99 | 87 | -1.7
60141 | crl618,pointing,+2.8C, 280s | 10:12 | 0.068 | 1.048 | 18 | 17 | -159 | -98 | 94 | -1.7
60142 | oriirc2,pointing,+2.0C,200s | 11:21 | 0.06 | 1.106 | 174 | 25 | -5 | -98 | 94 | -1.7
60143 | crl618,pointing,+1.7C, 200s | 11:44 | 0.061 | 1.076 | -38 | 21 | 134 | -98 | 94 | -1.7
60144 | crl618,pointing,+1.7C, 200s | 11:49 | 0.066 | 1.082 | -40 | 22 | 132 | -98 | 90 | -1.7
60145-8 | a5142,observing,+1.3C,90s | 12:01 | 0.059 | 1.04 | -27 | 15 | 149 | -98 | 90 | -1.7
Note: Error: Zero good pixels in first left.
60149-52 | a5142,observing,+1.1C,90s | 12:30 | 0.06 | 1.075 | -46 | 21 | 126 | -98 | 90 | -1.7
60153-6 | a5142,observing,+1.2C,90s | 13:12 | 0.055 | 1.124 | -54 | 27 | 114 | -98 | 90 | -1.7
60157 | oriirc2,pointing,+1.5C,200s | 13:49 | 0.054 | 1.351 | 237 | 42 | 52 | -94 | 89 | -1.7
60158 | oriirc2,pointing,+1.4C,200s | 13:54 | 0.054 | 1.375 | 238 | 43 | 53 | -97 | 91 | -1.7
60159-62 | ngc2071,observing,1.3C,90s | 14:01 | 0.053 | 1.289 | 244 | 39 | 58 | -97 | 91 | -1.7
60163-6 | ngc2071,observing,1.4C,90s | 14:33 | 0.053 | 1.448 | 250 | 46 | 62 | -97 | 91 | -1.7
60167-70 | ngc2071,observing,1.5C,90s | 15:02 | 0.053 | 1.707 | 256 | 54 | 66 | -97 | 91 | -1.7
Note: Error: Zero good pixels in first left.
Date (yyyy-mm-dd): | 2013 Nov 28 UT
Observers: | Carmen, Lei, Simon
Observing conditions: | Temp 5 C, tau 0.054
Comments: | Observing, Dome open
UT 5:06, opened dome, ZA=45, Tau=0.054
60171 | Neptune, pointing, focusing, 4.9C, 180s | 5:31 | 0.054 | 1.247 | 214 | 34 | 33 | -84 | 82 | -0.5
60172 | Neptune, pointing, focusing, 4.9C, 180s | 5:37 | 0.054 | 1.263 | 217 | 37 | 35 | -99 | 87 | -1.7
60173 | Neptune, pointing, focusing, 4.9C, 180s | 5:44 | 0.04 | 1.277 | 218 | 38 | 37 | -99 | 87 | -1.6
60174 | Neptune, pointing, focusing, 4.8C, 180s | 5:47 | 0.052 | 1.291 | 220 | 39 | 38 | -98 | 90 | -1.8
60175-6 | IRAS22272,pointing, 4.5C, 200s,300s | 5:58 | 0.041 | 1.297 | 338 | 39 | 143 | -98 | 90 | -1.7
Note: no source
60177 | CRL2688,pointing, 4.5C, 300s | 6:10 | 0.042 | 1.435 | 303 | 46 | 98 | -98 | 90 | -1.7
60178-81 | CB3, 4.6C, 90s | 6:28 | 0.053 | 1.252 | -2 | 37 | 176 | -98 | 90 | -1.7
60182-5 | CB3, 4.0C, 90s | 6:55 | 0.044 | 1.26 | -8 | 37 | 167 | -98 | 90 | -1.7
60186-9 | CB3, 3.9C, 90s | 7:26 | 0.058 | 1.284 | -14 | 39 | 155 | -98 | 90 | -1.7
60190-3 | CB3, 3.1C, 90s | 7:54 | 0.058 | 1.32 | -19 | 40 | 145 | -98 | 90 | -1.7
60194-7 | CB3, 2.9C, 90s | 8:23 | 0.055 | 1.34 | -24 | 43 | 136 | -98 | 90 | -1.7
60198 | CRL618,pointing, 2.6C, 300s | 8:57 | 0.053 | 1.123 | 48 | 27 | -120 | -98 | 90 | -1.7
60199 | CRL618,pointing, 2.6C, 300s | 9:04 | 0.057 | 1.111 | 46 | 25 | -122
Note: File not good, bad change in FZAO
60200 | CRL618,pointing, 2.6C, 300s | 9:06 | 0.057 | 1.107 | 46 | 25 | -124 | -94 | 90 | -1.7
60201-4 | CB3, 2.9C, 90s | 9:15 | 0.05 | 1.551 | -31 | 50 | 118 | -94 | 90 | -1.7
60205-8 | CB3, 2.9C, 90s | 9:46 | 0.068 | 1.65 | -32 | 52 | 112 | -94 | 90 | -1.7
60209-12 | CB3, 2.9C, 90s | 10:15 | 0.053 | 1.809 | -34 | 56 | 105 | -94 | 90 | -1.7
60213 | oriirc2,pointing,+2.4C,300s | 10:50 | 0.055 | 1.121 | -59 | 24 | -20 | -94 | 90 | -1.7
60214-7 | ngc2071,observing,2.3C,90s | 10:58 | 0.053 | 1.078 | 151 | 22 | -27 | -94 | 90 | -1.7
Note: Error: Zero good pixels in second left. Source too high.
60218-21 | ic348-smm2e,observing,1.2C,90s | 11:31 | 0.051 | 1.137 | 302 | 28 | 108 | -94 | 90 | -1.7
60222-5 | ic348-smm2e,observing,1.2C,90s | 12:02 | 0.065 | 1.218 | 298 | 34 | 102 | -94 | 90 | -1.7
60226-9 | ic348-smm2e,observing,1.2C,90s | 12:31 | 0.05 | 1.321 | 297 | 40 | 96 | -94 | 90 | -1.7
60230 | oriirc2,pointing,+1.8C,200s | 13:01 | 0.049 | 1.21 | 225 | 34 | 42 | -94 | 90 | -1.7
60231 | oriirc2,pointing,+1.8C,200s | 13:07 | 0.049 | 1.224 | 227 | 35 | 44 | -96 | 95 | -1.7
60232-5 | ngc2071,observing,1.4C,90s | 13:13 | 0.058 | 1.156 | 233 | 30 | 48 | -96 | 95 | -1.7
60236-9 | ngc2071,observing,1.4C,90s | 13:42 | 0.054 | 1.243 | 242 | 36 | 56 | -96 | 95 | -1.7
60240-3 | ngc2071,observing,1.4C,90s | 14:09 | 0.055 | 1.337 | 247 | 41 | 60 | -96 | 95 | -1.7
60244-7 | ngc2071,observing,1.4C,90s | 14:38 | 0.052 | 1.495 | 252 | 48 | 63 | -96 | 95 | -1.7
60248-51 | ngc2071,observing,1.4C,90s | 15:06 | 0.05 | 1.717 | 256 | 54 | 66 | -96 | 95 | -1.7
Date (yyyy-mm-dd): | 2013 Nov 29 UT
Observers: | Carmen, Lei, Hua-bai
Observing conditions: | Temp 5 C, tau 0.054
Comments: | Observing, Dome open
UT 5:06, opened dome, ZA=45, Tau=0.054
60252 | Neptune, pointing, focusing, 3.1C, 180s | 5:15 | 0.041 | 1.225 | 210 | 35 | 29 | -96 | 95 | -1.7
60253 | Neptune, pointing, focusing, 2.5C, 180s | 5:23 | 0.048 | 1.237 | 212 | 36 | 31 | -94 | 89 | -1.6
60254 | Neptune, pointing, focusing, 2.6C, 180s | 5:27 | 0.048 | 1.246 | 214 | 36 | 32 | -95 | 89 | -1.5
60255 | Neptune, pointing, focusing, 2.6C, 180s | 5:33 | 0.05 | 1.26 | 216 | 37 | 34 | -96 | 88 | -1.4
60256 | crl2688,pointing, 2.6C, 300s | 5:40 | 0.046 | 1.314 | 304 | 40 | 103 | -96 | 88 | -1.5
60257-60 | CB3, 2.5C, 90s | 5:55 | 0.047 | 1.255 | 5 | 37 | -171 | -96 | 88 | -1.5
60261-4 | CB3, 2.0C, 90s | 6:25 | 0.052 | 1.252 | -2 | 37 | 177 | -96 | 88 | -1.5
60265-8 | CB3, 1.5C, 90s | 6:53 | 0.049 | 1.261 | -8 | 37 | 166 | -96 | 88 | -1.5
60269-72 | CB3, 1.1C, 90s | 7:20 | 0.049 | 1.307 | -14 | 39 | 148 | -96 | 88 | -1.5
60273-6 | CB3, 1.6C, 90s | 7:54 | 0.057 | 1.327 | -20 | 41 | 144 | -96 | 88 | -1.5
Note: Error: Number of hwp positions 0 is not equal to 4. Sharc and EDAS not communicating.
60277 | CB3, 0.9C, 90s | 9:23 | 0.053 | 1.563 | -31 | 50 | 118 | -96 | 88 | -1.5
Note:Sharp Single file to make sure everything is fixed. We restarted of IRC server and client (step 10 of sharcII cheatsheet)
60278-81 | CB3, 0.8C, 90s | 9:36 | 0.055 | 1.62 | -32 | 52 | 114 | -96 | 88 | -1.5
60282-5 | CB3, 0.8C, 90s | 10:09
Note: Run done by Giles as we went to HP. Hua-bai felt bad.
60286 | CRL618,pointing, 0.5C, 300s | 10:47 | 0.051 | 1.044 | -10 | 16 | 167 | -96 | 88 | -1.5
60287 | CRL618,pointing, 0.4C, 200s | 10:54 | 0.046 | 1.046 | -15 | 17 | 162 | -98 | 93 | -1.5
60288-91 | ic348-smm2e,observing,0.4C,90s | 11:00 | 0.051 | 1.088 | -54 | 23 | 116 | -98 | 93 | -1.5
60292-5 | ic348-smm2e,observing,0.4C,90s | 11:31 | 0.054 | 1.147 | -59 | 29 | 107 | -98 | 93 | -1.5
60296-9 | ic348-smm2e,observing,0.5C,90s | 11:59 | 0.059 | 1.222 | -62 | 35 | 101 | -98 | 93 | -1.5
60300-3 | ic348-smm2e,observing,0.3C,90s | 12:28 | 0.059 | 1.327 | -63 | 41 | 96 | -98 | 93 | -1.5
60304 | CRL618,pointing, 0.6C, 200s | 12:57 | 0.063 | 1.234 | -55 | 36 | 107 | -98 | 93 | -1.5
60305-8 | a5142,observing,0.5C,90s | 13:05 | 0.06 | 1.125 | -54 | 27 | 114 | -98 | 93 | -1.5
60309-12 | a5142,observing,0.3C,90s | 13:33 | 0.057 | 1.189 | -58 | 32 | 107 | -98 | 93 | -1.5
60313-6 | a5142,observing,0.3C,90s | 14:02 | 0.06 | 1.282 | -60 | 38 | 100 | -98 | 93 | -1.5
60317-20 | a5142,observing,1.1C,90s | 14:30 | 0.055 | 1.404 | -61 | 44 | 96 | -98 | 93 | -1.5
60321-4 | a5142,observing,0.1C,90s | 14:59 | 0.052 | 1.576 | -62 | 50 | 91 | -98 | 93 | -1.5
Date (yyyy-mm-dd): | 2013 Nov 30 UT
Observers: | Carmen, Lei, Hua-bai
Observing conditions: | Temp 10.4 C, tau 0.126
Comments: | Observing, Dome open
UT 04:50, opened dome, ZA=45, Tau=0.126
C18O (2-1) OTF Map 230 GHz receiver | off 0 0 1.5 2 15 15 /dim 8 8 /zig /eq /off -7600 -287
cal every time we observe | J041757,observing
J041757,observing
| J041757,observing, 3.6 C /pos 0 | 8:14 | 0.106 |  | 67 | 25 | -102 | -1.2 | -4.2 | -0.25
| J041757,observing, 3.6 C | 8:45 | 0.094 |  | 59 | 16 | -115 | -1.2 | -4.2 | -0.25
crl618, pointing
| J041757,observing, 3.9 C /pos 0 | 9:20 | 0.119 |  | 49 | 12 | -127 | -7.5 | -1.9
| crl618, pointing | 9:50 | 0.113 |  | 23 | 18 | -154 | -7.1 | -4.7
Note: We didn't start the secondary in the previous pointing
| J041757,observing, 3.1 C | 9:59 | 0.124 |  | 13 | 17 | -157 | -7 | -3.5
Note: we didn't select our source, 3 bad spectrum
| J041757,observing, 3.1 C | 10:04 | 0.124 |  | -7 | 8 | 172 | -7 | -3.5
| J041757,observing, 2.4 C /pos 0 | 10:25 | 0.117 |  | -37 | 10 | 135 | -7 | -3.5
| J041757,observing, 2.4 C | 10:45 | 0.125 |  | -51 | 12 | 126 | -7 | -3.5
| J041757,observing, 1.3 C /pos 0 | 11:03 | 0.152 |  | -58 | 17 | 112 | -7 | -3.5
| J041757,observing, 1.4 C | 11:20 | 0.163 |  | -62 | 19 | 106 | -7 | -3.5
| J041757,observing, 1.9 C /pos 0 | 11:38 | 0.179 |  | -65 | 23 | 104 | -7 | -3.5
| J041757,observing, 2.5 C | 11:56 | 0.169 |  | -67 | 26 | 100 | -7 | -3.5
crl618, pointing
| J041757,observing, 2.0 C /pos 0 | 12:31 | 0.149 |  | -69 | 35 | 95 | -2.4 | 0.9
| J041757,observing, 1.8 C | 12:48 | 0.186 |  | -70 | 38 | 92 | -2.4 | 0.9
| J041757,observing, 1.8 C /pos 0 | 13:05 | 0.197 |  | -70 | 42 | 90 | -2.4 | 0.9
| Mars, on-off, observing, 1.8C, off 100” | 13:29 | 0.148 |  | 97 | 61 | -69
Mars, on-off, observing, 1.8C, off 100”
Mars, on-off, observing, 1.8C, off 100”
Mars, on-off, observing, 1.8C, off 100”
Mars, on-off, observing, 1.8C, off 100”
| J041757,observing, 1.8 C | 13:40 | 0.147 |  | -69 | 51 | 86 | -2.4 | 0.9
| J041757,observing, 1.4 C /pos 0 | 13:56 | 0.154 |  | -69 | 53 | 85 | -2.4 | 0.9
| Mars, pointing, 1.8 | 14:18 | 0.153 |  | 103 | 50 | -67 | -2.4 | 0.9
Note: Can't suggest pointing corrections.
| crl618, pointing, 1.6 C | 14:48 | 0.165 |  | -59 | 59 | 87 | -2.4 | 0.9
| crl618, pointing, 2.0 C | 14:54 | 0.165 |  | -59 | 60 | 86 | -6.1 | -3.8
| Jupiter, on-off, observing, 1.8C, off 200” | 15:04 | 0.231 |  | -48 | 39 | -62 | -5.5 | -1.7
Jupiter, on-off, observing, 1.8C, off 200”
Jupiter, on-off, observing, 1.8C, off 200”
Jupiter, on-off, observing, 1.8C, off 200”
| Mars, on-off, observing, 1.8C, off 100” | 15:12 | 0.165 |  | 111 | 38 | -61 | -5.5 | -1.7
| v-hya, pointing, 2.0 | 15:24 | 0.182 |  | 156 | 44 | -24 | -5.5 | -1.7
Note: Calibrator near Mars
Mars, on-off, observing, 1.8C, off 100”
Note: forgot to stop sec, bad data
| Mars, on-off, observing, 1.8C, off 100” | 15:35 | 0.176 |  | 117 | 33 | -57 | -2.9 | 4.5
Note: forgot cal, bad data
Mars, on-off, observing, 1.8C, off 100”
| Jupiter, on-off, observing, 1.8C, off 200” | 15:41 | 0.145 |  | 281 | 35 | 86 | -2.9 | 4.5