## Sheet1
				a
			(225 GHz)					Used	Used	Used	X-Strt	Y-Strt	X-Stp	Y-Stp	Init HWP pos	Step HWP	Scan	Meas.	Meas.	Meas.	Meas.	Chop	int time/hwp			RAO/FIELD	DECO/FIELD
Scan#	Comments	UT	CSO tau	Airmass	AZ	ZA	Par. Ang.	FAZO	FZAO	FOC/OFF					Pattern	Signal	FAZO	FZAO	FWHM	Throw	(sec)

Scan patterns:
s2= sweep 10 10 /yamp =10 /yper=14.142 /alt					row 0				For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				Used P=1.6; I=3.9; D=4.6; G=4.2 (Sept 2010; Dec 2011)
s3= sweep 10 20 /yamp =10 /yper=28.284 /alt					row 1	Chop PIDG parameters:			For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				We have new PIDG values were P=1.6; I=3.7; D=4.6; G=4.2
s4= sweep 20 20 /yamp =10 /yper=14.142 /alt					row 2				For 120"		UIP Cmnd: "sec 120 0.925925925 4 4"				In the past the PIDG values were P=2.0; I=4.4; D=4.6; G=4.2
s5= sweep 30 20 /y 20 14.142 /alt		NOTE THIS IS NEW SYNTAX 2009					row 3				For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				We have new PIDG values were P=1.62; I=3.56; D=4.71; G=4.22
s6= sweep 80 20/ yamp =80 /yper=28.28 /alt					row 4				For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				We successfully tested the PIDG values from computer P=1.6; I=3.9; D=4.6; G=4.2
				(used successfully September 2009)
s7= sweep 10 20 /yamp = 10 /yper=14.142 /alt					row 5				For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				We successfully tested the PIDG values from computer P=2.0; I=4.4; D=4.6; G=4.2
s8= sweep 45 20 /yamp = 45 /yper =14.142 /alt					row 5					(last tested January 2009 - but these failed to work in September 2009)
s9= sweep 20 20 /yamp=20 /yper = 14.142 /alt					row 6				For 180"		UIP Cmnd: "sec 180 0.925925925 4 4"				We successfully tested the PIDG values from computer P=1.70; I=4.2; D=4.6; G=4.2
s10= Box_scan 228.571 240 20.0 45					row 7				For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				We used new PIDG values: P=1.6; I=3.8; D=4.8; G=4.2
s11= sweep 5 5 /yamp =5 /yper=14.142 /alt

Date (yyyy-mm-dd):	2014 June 15 UT
Observers:	Giles Novak, remote observer
Observing conditions:	Temp 3 C, tau 0.08
Comments:	test the system in mediocre tau
	UT 6:15 opened dome;
	UT 6:30 started heating HWP
	UT 7:00 HWP has warmed to 15.7 degrees
	UT 7:20 start tuning chopper for 300 arcsec
	UT 7:30 start DSOS
	chopper and DSOS seem nominal
	UT 8:00 HWP at 17 degrees

61179	Mars	08:10	0.087		241	45	56	-84	82	-0.5					s5	49	-91	89	11.8		180
61180	Mars	08:20	0.082		242	47	57	-91	89	-0.5					s5	46	-91	87	11.4
61181	Mars	08:25	0.082		244	49	58	-91	89	-0.2					s5	62	-92	87	10.1
61182	Mars	08:35	0.086		245	50	59	-91	89	0.1					s5	29	-93	87	11.9
61183	Mars	08:40	0.082					-91	89	-0.3					s5	46	-93	86	10.1
61184	Mars	08:45	0.082					-91	89	-0.1					s5	45	-93	86	10.1
61185	Mars	08:49	0.084		248	54	61	-91	89	-0.4					s5	31	-91	86	10.8
61186	Mars	08:58	0.084					-91	89	0					s5	27	-94	86	10.8
61187	Mars	09:09	0.083					-93	87	-0.2					s5	27	-94	87	10.1
	UT 9:15 HWP at 21 deg C; ambient temp is 2 deg C
61188	Mars polarimetry – single file	09:22	0.089		252	61	64	-93	87	-0.2					50	22.5					300	90

	end system check-out; all systems seem OK
	nod lengths OK; DSOS perfect; detector cold
	Chop 50% efficiency; hwp angles good (staircase OK)
	measured chop throw is 296” instead of 300” but
	stable across the four HWp angles

Date (yyyy-mm-dd):	2014 June 18 UT
Observers:	Nicholas Chapman, remote observer
Observing conditions:	Temp 14 C, tau 0.06
Comments:	Dome opened at 6:20 UT
	08:00 DSOS started up and ready to go!

61189	Mars	08:03	0.069		240	46	55	-84	82	-0.5					s5	42	-96.4	81.1	14.66
61190	Mars	08:10	0.066		242	47	56	-96.4	81.1	-0.2					s5	83	-98	79.7	9.92
61191	Mars	08:15	0.066		243	48	57	-98	79.7	0					s5	68	-100	81.2	10.6
61192	Mars	08:20	0.077		244	49	58	-98	79.7	-0.3					s5	79	-97.2	81.7	10.13
61193	Mars	08:25	0.077		245	50	58	-98	79.7	-0.1					s5	71	-99.2	81.5	10.01
	Best Focus -0.2, FWHM = 9.92					-0.2
61194	cal_16293m2422	08:36	0.071		169	44	-10	-98	79.7	-0.2					s5		-93.1	82.9
61195	CB68, single file	08:43	0.073	1.27	160	38	-19	-93.1	82.9	-0.2					50	22.5					300	90
	Hmm, don't see the source. Maybe just too faint.
	switching to L483
61196	cal_g45.1	08:55	0.075	1.364	95	42	-72	-93.1	82.9	-0.2					s5		-91.2	83.3
61197	L483	09:02	0.07	1.248	128	36	-47	-91.2	83.3	-0.2					50	22.5					300	90
	I see the source. Not great, but we wil lcarry on.
61198-201	L483, coarse dither	09:11	0.089	1.223	131	34	-45	-91.2	83.3	-0.2					50	22.5					300	90
	chopper efficiency ~55%
	no evidence of sky noise
61202—05	L483, coarse dither	09:41	0.084	1.158	142	30	-35	-91.2	83.3	-0.2					50	22.5
61206-09	L483, coarse dither, 52% eff.	10:10	0.084	1.119	156	26	-23					50	22.5
61210	L483, single file	10:54	0.088	1.101	172	24	-7					50	22.5
61211-14	L483, coarse dither, 52% eff.	10:48	0.088	1.099	177	24	-2
61215-8	L483, coarse dither	11:17	0.083	1.105	194	25	13
61219	cal_g45.1	11:49	0.092	1.012	179	8	-0.3					s5		-88.5	83.9
61220	B335, single file	12:00	0.084	1.025	166	12	-13	-88.5	83.9	-0.2					50	22.5					180	90
	Oops, forgot to change chop throw to 180 in script
61221	B335, single file,eff. 61%	12:08	0.084	1.023	175	12	-4.5
61222-25	B335 coarse dither, 61% eff	12:21	0.083	1.024	190	12	10
61226-29	B335 coarse dither	12:53	0.08	1.039	220	15	38
	GN and MH take over from NC	13:03
61230-33	B335 coarse dither	13:30	0.083	1.11	245	25	59			-0.2					50	22.5
61234	cal_g45.1	14:05	0.084	1.21	260	34	71	-88.5	83.9	-0.2					-90	85	11.9		180
61235	cal_g45.1	14:13	0.082	1.24	261	36	71	-88.5	83.9	-0.2					180
	End observations
	The only problem was sharc.ql froze
	Decided that next time we will try running Libre Office locally rather than on sharc.ql

Date (yyyy-mm-dd):	2014 June 19 UT
Observers:	Ya-Wen Tang and Patrick Koch, remote observers
Observing conditions:	Temp 5 C, tau 0.04 (beginning of night)
Comments:	Dome opened at about 6:20 UT
	DSOS started at 7:20 UT

61236	Mars	07:46	0.04	1.38	238	43	53	-84	82	-0.5					s5	349	-88.6	85	10.63
61237	Mars	08:00	0.04	1.5	241	46	56	-88.6	85	-0.3					s5	442	-87.7	84.3	10.04
61238	Mars	08:08	0.04	1.5	242	48	57	-87.7	84.3	-0.1					s5	322	-89	84	11.05
61239	Mars	08:14	0.05	1.5	243	49	57	-87.7	84.3	-0.2					s5	365	-89.2	84	10.5
61240	Mars					-87.7	84.3	-0.4					s5	325	-89	84	10.47
	set focus to -0.3 (FWHM: 10.04), temperature: 3.8 C
	planet visible in all maps
61241	cal_16293m2422	08:28	0.04	1.4	168	45	-12	-87	84.3	-0.3					s5		-84.2	85
61242	SGRA-EAST (single file)	08:38	0.04	1.7	153	54	-29	-84.2	85	-0.3
	note: chop efficiency ~ 42%, chop 302.2”, used extra flags to produce a map (edas 1.5)
61243-46	SGRA-EAST coarse dither	08:51	0.04	1.7	156	53	-26	-84.2	85	-0.3					302
	note: no extra flags needed
61247	cal_g34.3	09:22	0.04	1.2	118	35	-56	-84.2	85	-0.3					s5		-80.5	86.3
61248	G34_43_3 (single file)	09:29	0.04	1.2	119	34	-55	-80.5	86.3	-0.3					302
	note: extra flag for analysis: dointeg 61248 –edas 1.5
61249-52	G34_43_3 coarse dither (first pointing)	09:39	0.04	1.2	122	32	-53	-80.5	86.3	-0.3					302
	note: no extra flags needed to produce maps
61253-56	G34_43_2 coarse dither (2nd pointing)	10:09	0.04	1.1	133	26	-44	-80.5	86.3	-0.3					302
61257-60	G34_43_1 coarse dither (third pointing)	10:37	0.04	1.1	146	22	-31	-80.5	86.3	-0.3					302
61261-64	G34_43_0 coarse dither (forth pointing)	11:07	0.04	1.05	167	18	-12	-80.5	86.3	-0.3					302
61265	cal_g34.3 (temperature: 2.8 C)	11:38	0.04	1.1	190	18	9	-80.5	86.3	-0.3					s5		-88.6	84
61266	SGRA-EAST single file	11:47	0.04	1.7	205	53	27	-88.6	84	-0.3					302
61267-70	SGRA-EAST coarse dither	11:57	0.04	1.7	207	54	29	-88.6	84	-0.3					303
	note: chop efficiency dropped to ~ 41 – 42% in files 61269, 61270; bolometers becoming more yellowish ?
61271-74	SGRA-EAST coarse dither	12:24	0.04	1.9	213	57	36	-88.6	84	-0.3					303
	note: chop efficiency ~ 41 - 42% in all files; bolometers becoming more yellowish starting from 3rd dither
61275-78	SGRA-EAST coarse dither	12:53	0.05	2.1	219	61	42	-88.6	84	-0.3					303
	note: last 2 dithers (file 61277 and 61278) have PA = 45 – 47 (possibly bad PA ?)
	note: problems with HWP starting from file 61275: only 3 steps, later looks like noise only ?
	called Nicholas and Giles for help:
	doircplot: HPW errors within ~ 0.1deg, but then sudden drop -> problem: connection lost ?
	problem solved by stopping and re-starting IRC client and server
61279	cal_g34.3	14:15	0.05	1.4	251	45	63	-88.6	84	-0.3					-90.3	90.8
61280	G34_43_0 single pointing	14:21	0.05	1.5	252	46	64	-90.3	90.8	-0.3					303
61281	G34_43_1 single pointing	14:28	0.05	1.5	254	48	64	-90.3	90.8	-0.3					304

Date (yyyy-mm-dd):	2014 June 20 UT
Observers:	Ya-Wen Tang and Patrick Koch, remote observers
Observing conditions:	Temp 6 C, tau 0.09 (beginning of night at UT 7:15)
Comments:	Dome opened at 06:12 UT
	DSOS started at UT 07:12 UT

61282	Mars	07:37	0.1	1.4	236	42	52	-84	82	-0.5					s5	35.1	-97.9	85	11.65		180
61283	Mars	07:43	0.11	1.4	238	43	53	-84	82	-0.3					s5	55.5	-97.7	84.9	9.05		180
61284	Mars	07:48	0.107	1.4	239	44	54	-84	82	-0.3					s5	51	-97.4	84.3	9.54		360
61285	Mars	08:02	0.113	1.5	241	47	56	-97.4	84.3	-0.1					s5	31.67	-97.9	83.8	10.27		360
61286	Mars	08:13	0.112	1.5	243	49	58	-97.4	84.3	-0.2					s5	31.56	-97.3	83.6	10		360
	set focus to -0.3 (FWHM: 9.54), temperature: 4.1 C
	planet visible in all maps
	note: used dosweep #file -xy XX YY to get focusing parameters, increased integration time to 360 s
61287	cal_16293m2422	08:25	0.115	1.4	169	45	-12	-97.4	84.3	-0.3					s5		-91.8	84.3
61288	SGRA-EAST (single file)	08:35	0.092	1.7	153	54	-29	-91.8	84.3	-0.3					300
61289-92	SGRA-EAST coarse dither	08:44	0.092	1.7	155	53	-27	-91.8	84.3	-0.3					299
61293	cal_g34.3	09:13	0.106	1.2	117	36	-57	-91.8	84.3	-0.3					s5		-88.7	87.6
61294	G34_43_0 (single file)	09:22	0.101	1.2	118	34	-56	-88.7	87.6	-0.3					299
61295-98	G34_43_0 coarse dither	09:30	0.107	1.2	121	33	-54	-88.7	87.6	-0.3					299
	note: analysis failed for files 61297 and 61298: dorawplot shows noisy steps for HWP
	problem solved by restarting IRC client and server; pop-up message about DSOS RPC service not available; restarted DSOS followed by another restart of IRC client and server (around UT 10:00)
61299	cal_g34.3	10:29	0.117	1.08	144	22	-34	-88.7	87.6	-0.3					s5		-88.9	85.7
61300-01	G34_43_1 coarse dither	10:40	0.118	1.1	150	21	-28	-88.9	85.7	-0.3					299
	note: identical problem: dorawplot shows noisy steps for HWP
	attempt to solve problem by restarting IRC client and server after stopping and restarting Peter_EDAS_test_2_20.exe locally through web browser
	following the instrucitons on the Sharp teamsite under “Restarting the HWP conrol program on the EDAS”
	result: entering manually angle for HWP: “polarimeter error-9”
	decided to shut down everything and restart from beginning; tau becoming pretty bad with 0.18....
	after communicating with Giles terminated observing run around 13:00 UT; HWP seems to gotten stuck

Date (yyyy-mm-dd):	2014 June 22 UT
Observers:	Ya-Wen Tang and Patrick Koch, remote observers
Observing conditions:	Temp 5.3 C, tau 0.087 (beginning of night at UT 7:20)
Comments:	Dome opened at 06:10 UT
	DSOS started at UT 07:20 UT

61302	Mars	07:32	0.106	1.4	237	42	51	-90	85	-0.5					s5	14	-102	67.3	16.4		180
61303	Mars	07:40	0.101	1.4	238	44	53	-90	85	-0.3					s5	12.01	-101.8	66	14.2		360
61304	Mars	07:54	0.092	1.5	240	47	55	-102	66	-0.3					s5	35.3	-102.1	65.1	10.23		360
61305	Mars	08:04	0.091	1.5	242	49	57	-102	65	-0.2					s5	35.2	-101.7	64.2	9.9		360
61306	Mars	08:12	0.095	1.6	244	50	58	-101.7	64.2	-0.1					s5	29.7	-101.2	65	9.9		360
61307	Mars	08:27	0.091	1.7	246	53	60	-101.7	64.2	0					s5	20.57	-99.7	65.8	10.48		360
	set focus to -0.2 (FWHM: 9.9), temperature: 4.3 C
	note: used dosweep #file -xy XX YY to get focusing parameters, increased integration time to 360 s
61308	cal_16293m2422	08:37	0.082	1.4	175	44	-5.2	-101.7	64.2	-0.2					s5		-97.6	67.5			360
61309	SGRA-EAST single file	08:52	0.088	1.6	160	52	-22	-97.6	67.5	-0.2					300
61310	cal_g34.3	09:02	0.089	1.3	116	37	-58	-97.6	67.5	-0.2					s5		-94.4	69			360
61311	G34_43_3 single file	09:10	0.081	1.23	117	35	-57	-94.4	69	-0.2					300
61312-15	G34_43_0 coarse dither	09:19	0.09	1.2	120	33	-55	-94.4	69	-0.2					297
61316-19	G34_43_1 coarse dither	09:48	0.089	1.13	129	27	-46	-94.4	69	-0.2					297
61320-23	G34_43_2 coarse dither	10:17	0.091	1.09	142	22	-35	-94.4	69	-0.2					297
61324	cal_g34.3	10:46	0.095	1.06	160	19	-19	-94.4	69	-0.2					s5		-94.2	70			360
61325-28	G34_43_0 coarse dither	10:55	0.094	1.06	166	19	-13	-94.2	70	-0.2					297
61329	G34_43_0 single file	11:23	0.108	1.06	188	18	7.5	-94.2	70	-0.2					297
61330-61333	SGRA-EAST coarse dither	11:34	0.109	1.67	204	53	26	-94.2	70	-0.2					297
61334-61337	SGRA-EAST coarse dither	12:02	0.107	1.8	211	56	33	-94.2	70	-0.2					297
61338-61341	SGRA-EAST coarse dither	12:31	0.114	2	217	60	40	-94.2	70	-0.2					297
61342	cal_g34.3	13:01	0.112	1.18	231	32	53	-94.2	70	-0.2					s5					360
61343	cal_g34.3	13:12	0.108	1.2	241	34	56	-94.2	70	-0.2					s5
	NOTE: no image detected in calibration files 61342 and 61343
	problem: noticed that FAZO was entered as +94.2 (instead of -94.2) -> files starting from 61325 to 61341 are possibly affected
61344	cal_g34.3	13:19	0.101	1.2	243	36	57	-94.2	70	-0.2					s5		-96	72.7			360
61345	G34_43_0 single file	13:28	0.101	1.3	245	38	59	-96	72.7	-0.2					298
61346-49	G34_43_0 coarse dither	13:36	0.105	1.32	247	39	60	-96	72.7	-0.2					298
61350-53	G34_43_1 coarse dither	14:05	0.113	1.4	252	46	63	-96	72.7	-0.2					298

	note: HWP worked perfectly through the entire night, efficiencies were around 41 – 42%

Date (yyyy-mm-dd):	2014 June 26 UT
Observers:	Nicholas Chapman and Jackie Davidson, remote observer, GN too
Observing conditions:	Temp 8 C, tau 0.087 (beginning of night at UT 7:20)
Comments:	Dome opened at 06:13 UT
	DSOS started at UT 07:20 UT

61354	Mars, focusing (can't see it in bolometer array)	07:37	0.087	1.444	238	45	53	-84	82	-0.5					s5	66	-91.9	83.9	9.66
61355	Mars	07:43	0.058	1.478	239	47	55	-91.9	83.9	-0.3					s5	54	-93.7	83.7	10.34
61356	Mars	07:50	0.058	1.515	241	48	55	-93.7	83.7	-0.1					s5	27	-94.2	84.7	12.56
61357	Mars	07:55	0.076	1.545	242	49	56	-93.7	83.7	-0.7					s5	42	-92.1	84	11.02
61358	Mars	08:00	0.076	1.582	243	50	57			-0.4					s5	54	-92.6	83	9.93
	Best Focus -0.5, FWHM = 9.66, T = 8 C
61359	cal_g45.1	08:10	0.085	1.442	94	45	-72	-93.7	83.7	-0.5					s5		-88.2	86.9
61360	L483, single file. Don't see source. Weather terrible. :(	08:16	0.089	1.295	125	39	-50	-88.2	86.9	-0.5					50	22.5					90
	Efficiency 49%
61361-64	L483, coarse dither	08:28	0.075	1.257	128	37	-48
	Chop 49% efficiency; Amp =301		0.087					300
61365-68	L483, coarse dither with chop set to 302 in dither control	08:58	0.082	1.18	137	31	-39	-88.2	86.9	-0.5					301	90
	Chop stable at 49% efficiency and 301 amplitude.					301	90
61369-72	L483, coarse dither	09:28	0.08	1.131	150	26	-27	-88.2	86.9	-0.5	-20	-20	40	40	50	22.5
	Pointing looks good from dithered images
	Chop is stable at Amp=301 and efficiency 50%					90
61373	cal_g45.1	10:00	0.088	1.069	112	20	-62	-88.2	86.9	-0.5					50		s5	1.9	-88.2	86.9	11.68		180
	pointing is good					-88.2	86.9
	Re-tuned secondary (for practice – probably a bad idea)
61374	L483, single file	10:16	0.078	1.099	176	24	-3	-88.2	86.9	-0.5					50	22.5					300
	Chop 43% efficiency; Amp =299: Yep – bad idea
	Change Chop to 180, since past transit for L483; takes about 10 mins.
61375	L483, single file	10:32	0.08	1.1	186	24	6.4	-88.2	86.9	-0.5					50	22.5					180	90
	Chop 65% efficiency; Amp =179.2
61376-79	L483, coarse dither	10:44	0.085	1.104	193	25	13	-88.2	86.9	-0.5	-20	-20	40	40	50	22.5					180	90
	Chop 63% efficiency; Amp =179.2
61380-83	L483, coarse dither	11:12	0.084	1.127	208	27	40	-88.2	86.9	-0.5	-20	-20	40	40	50	22.5					180	90
61384-87	L483, coarse dither	11:46	0.081	1.182	223	32	27	-88.2	86.9	-0.5	-20	-20	40	40	50	22.5					179	90
61388	cal_g45.1	12:18	0.086	1.047	241	17	57	-88.2	86.9	-0.5					50		s5	4.4	-90.3	84.4	11.57		180
61389-92	B335, course dither	12:45	0.084	1.064	234	20	51	-90	84	-0.5	-20	-20	40	40	50	22.5					179	90
61393	cal_g45.1	13:45	0.084					-90	84	-0.5					50		s5	2.6	-87.8	87	11.4		180
	NOTE: sharc.ql desktop was unresponsive; shutdown was successful though

Date (yyyy-mm-dd):	2014 June 27 UT
Observers:	Nicholas Chapman and Jackie Davidson, remote observer, GN too
Observing conditions:	Temp 7 C, tau 0.07ish (beginning of night at UT 7:20)
Comments:	Dome opened at 06:40 UT
	started cycling dewar about the same time

	Tau going back up, so calling off the night.

Date (yyyy-mm-dd):	2014 July 03 UT
Observers:	Ya-Wen Tang and Patrick Koch, remote observers
Observing conditions:	Temp 6.6 C, tau 0.072 (beginning of night at UT 7:05)
Comments:	Dome opened at 06:10 UT
	DSOS started at 07:16 UT

61394	Mars	07:36	0.063	1.56	241	50	56	-84	82	-0.5					s5	78.6	-89.7	81.8	9.62		180
61395	Mars	07:43	0.067	1.61	242	51	57	-89.7	81.8	-0.3					s5	84	-90.4	81.3	9.65		180
61396	Mars	07:49	0.069	1.65	243	52	58	-90.4	81.3	-0.1					s5	55	-90.8	81.9	10.6		180
61397	Mars	07:55	0.07	1.7	244	54	58	-90.4	81.3	-0.4					s5	69.5	-89.9	81.9	9.45		180
61398	Mars	08:00	0.068	1.8	245	55	59	-90.4	81.3	-0.7					s5	35.2	-90.5	82.9	14.3		180
	set focus to -0.3 (FWHM: 9.65), temperature: 5.9 C

61399	cal_g34.3	08:11	0.07	1.28	114	38	-59	-90.4	81.3	-0.3					s5		-85.6	87.3			180
61400	G34_43_3 single file	08:18	0.07	1.26	116	37	-58	-85.6	87.3	-0.3
61401-04	G34_43_3 coarse dither	08:27	0.07	1.2	118	35	-57	-85.6	87.3	-0.3
	change chop throw to 299
61405-08	G34_43_3 coarse dither	08:55	0.072	1.15	126	29	-50	-85.6	87.3	-0.3
	change chop throw to 300, measured chop efficiency 49.5%
61409-12	G34_43_3 coarse dither	09:24	0.074	1.1	137	24	-50	-85.6	87.3	-0.3
61413-16	G34_43_3 coarse dither	09:52	0.073	1.07	152	20	-26	-85.6	87.3	-0.3
61417-20	G34_43_3 coarse dither	10:24	0.074	1.05	175	18	-5	-85.6	87.3	-0.3
	File 61417 has error message while dointeg. The other files (61418-20) are ok.
61421	cal_16293m2422	10:57	0.078	2.02	225	60	46	-93.2	82.7	-0.3					180
61422	SGRA-EAST (single file)	11:03	0.081	1.72	207	54	29	-93.2	82.7	-0.3
61423-26	SGRA-EAST coarse dither	11:11	0.08	1.76	209	55	31	-93.2	82.7	-0.3
61427-30	SGRA-EAST coarse dither	11:40	0.089	1.94	215	59	38	-93.2	82.7	-0.3
61431	SGRA-EAST (single file)	12:08	0.086	2.22	221	63	44	-93.2	82.7	-0.3
61432	cal_g34.3	12:20	0.083	1.19	239	32	54	-93.2	82.7	-0.3					s5		-85.6	87.3			180
61433	G34_43_2 single file	12:26	0.083	1.2	241	33	55	-91.5	91	-0.3
61434-37	G34_43_2 coarse dither	12:34	0.087	1.2	243	35	57	-91.5	91	-0.3
61438-41	G34_43_1 coarse dither	13:02	0.09	1.34	249	41	61	-91.5	91	-0.3
61442-45	G34_43_0 coarse dither	13:31	0.095	1.49	253	48	64	-91.5	91	-0.3
61446-49	G34_43_1 coarse dither	14:00	0.098	1.73	257	54	67	-91.5	91	-0.3

		14:37 shut down the telescope

Date (yyyy-mm-dd):	2014 July 04 UT
Observers:	Ya-Wen Tang and Patrick Koch, remote observers
Observing conditions:	Temp 6.4 C, tau 0.063 (beginning of night at UT 7:10)
Comments:	Dome opened at 06:10 UT
	DSOS started at 07:16 UT

61450	Mars	07:34	0.066	1.56	240	50	56	-84	82	-0.5					s5	67.4	-94.5	84.1	9.97		180
61451	Mars	07:39	0.071	1.6	241	51	56	-94.5	84.1	-0.3					s5	87	-94.5	84.7	9.32		180
61452	Mars	07:45	0.071	1.64	242	52	57	-94.5	84.7	-0.1					s5	67	-94.6	85.2	9.9		180
61453	Mars	07:50	0.068	1.69	243	53	58	-94.5	84.7	-0.4					s5	72	-94.1	84.8	9.58		180
61454	Mars	07:56	0.068	1.73	244	54	59	-94.5	84.7	-0.2					s5	71	-93.9	84	9.43		180
	set focus to -0.3 (FWHM: 9.32), temperature: 5.3 C

61455	cal_g34.3	08:05	0.064	1.29	114	39	-59	-94.5	84.7	-0.3					s5		-90.2	88.5			180
61456	G34_43_3 single file	08:10	0.068	1.27	115	38	-59	-90.2	88.5	-0.3
61457-60	G34_43_3 coarse dither	08:18	0.068	1.24	116	36	-58	-90.2	88.5	-0.3
61461-64	G34_43_3 coarse dither	08:48	0.066	1.16	124	30	-52	-90.2	88.5	-0.3
61465-68	G34_43_3 coarse dither	09:19	0.066	1.1	136	24	-40	-90.2	88.5	-0.3
61469-72	G34_43_3 coarse dither	09:48	0.063	1.07	152	20	-26	-90.2	88.5	-0.3
61473-76	G34_43_2 coarse dither	10:16	0.061	1.06	172	18	-6	-90.2	88.5	-0.3
61477	cal_16293m2422	10:49	0.071	1.98	224	59	46	-90.2	88.5	-0.3					s5		-91.9	84.9			180
61478	SGRA-EAST (single file)	10:55	0.071	1.7	206	54	28	-91.9	84.9	-0.3
61479-82	SGRA-EAST coarse dither	11:02	0.066	1.74	208	55	30	-91.9	84.9	-0.3
61483-86	SGRA-EAST coarse dither	11:30	0.063	1.91	214	58	37	-91.9	84.9	-0.3
61487	SGRA-EAST (single file)	11:59	0.066	2.15	220	62	43	-91.9	84.9	-0.3
61488	cal_g34.3	12:09	0.066	1.17	237	31	52	-91.9	84.9	-0.3
61489	G34_43_1 single file	12:14	0.069	1.18	239	32	53	-91.4	90.7	-0.3
61490	G34_43_1 single file	12:22	0.068	1.21	241	34	55.5	-91.4	90.7	-0.3
61491	G34_43_1 single file	12:27	0.068	1.22	243	35	57	-91.4	90.7	-0.3
	File 61489-91 were run in the sweep mode instead of chop mode. These three files are thus not useful..
61492	G34_43_1 single file	12:34	0.068	1.25	244	36	58	-91.4	90.7	-0.3
61493-96	G34_43_1 coarse dither	12:42	0.066	1.27	245	38	59	-91.4	90.7	-0.3
61497-500	G34_43_0 coarse dither	13:11	0.08	1.4	251	44	63	-91.4	90.7	-0.3
61501-04	G34_43_2 coarse dither	13:39	0.067	1.58	255	50	65	-91.4	90.7	-0.3
61505-08	G34_43_1 coarse dither	14:10	0.068	1.88	259	58	67	-91.4	90.7	-0.3

		14:37 shut down the telescope

Date (yyyy-mm-dd):	2014 July 05 UT
Observers:	Ya-Wen Tang and Patrick Koch, remote observers
Observing conditions:	Temp 7.1 C, tau 0.065 (beginning of night at UT 7:13)
Comments:	Dome opened at 06:11 UT
	DSOS started at 07:15 UT

614509	Mars	07:37	0.08	1.61	241	51	56	-84	82	-0.5					s5	75	-97.2	80.1	9.34		180
				note that the above file is taken under manual mode. The file 61510 was taken with a shorter time.
61511	Mars	08:00	0.071	1.7	244	55	58	-97.2	80.1	-0.3					s5	46.9	-96.5	80.7	9.57		180
61512	Mars	08:07	0.072	1.88	246	58	60	-97.2	80.1	-0.1					s5	39	-97.6	80	10.3		180
61513	Mars	08:12	0.071	1.94	247	59	61	-97.2	80.1	-0.6					s5	35.8	-94.8	79.5	11		180
61514	Mars	08:18	0.071	2.02	248	60	61	-97.2	80.1	-0.5					s5	41.23	-97	80.3	9.74
	set focus to -0.3 (FWHM: 9.57), temperature: 4.8 C

61515	cal_g34.3	08:29	0.067	1.2	120	33	-54	-97.2	80.1	-0.3					s5		-90.2	88.5			180
61516	G34_43_3 single file	08:35	0.069	1.18	122	32	-53	-97.2	80.1	-0.3
61517-520	G34_43_3 coarse dither	08:43	0.067	1.16	124	30	-51	-97.2	80.1	-0.3
61521	cal_g34.3	09:10	0.065	1.1	136	25	-40	-97.2	80.1	-0.3					s5		-90.2	88.5			180
61522-25	G34_43_2 coarse dither	09:18	0.065	1.1	137	24	-40	-88.5	81.1	-0.3
61526-29	G34_43_1 coarse dither	09:46	0.065	1.07	153	20	-25	-88.5	81.1	-0.3
61530-33	G34_43_0 coarse dither	10:14	0.069	1.05	174	18	-5.7	-88.5	81.1	-0.3
61534	cal_16293m2422	10:45	0.066	1.99	224	59	46	-88.5	81.1	-0.3					s5		-90.2	88.5			180
61535	SGRA-EAST (single file)	10:51	0.064	1.702	206	54	28	-90.7	81.8	-0.3
61536-39	SGRA-EAST coarse dither	10:58	0.064	1.735	208	54	30	-90.7	81.8	-0.3
61540-43	SGRA-EAST coarse dither	11:26	0.059	1.9	214	58	37	-90.7	81.8	-0.3
	update the chop throw to 301”
61544-47	SGRA-EAST coarse dither	11:55	0.064	2.15	220	62	43	-90.7	81.8	-0.3
61548	cal_g34.3	12:29	0.059	1.24	243	36	57	-89	89.5	-0.3					s5		-90.2	88.5			180
61549	G34_43_3 (single file)	12:34	0.059	1.25	245	37	58	-89	89.5	-0.3
61550-53	G34_43_3 coarse dither	12:41	0.063	1.28	246	38	59	-89	89.5	-0.3
	File 61500 can not dointeg. All the other 3 files are ok.
61554-57	G34_43_2 coarse dither	13:10	0.058	1.41	251	45	63	-89	89.5	-0.3
	File 61557 can not dointeg. All the other 3 files are ok.
61558-61	G34_43_1 coarse dither	13:38	0.056	1.6	255	51	66	-89	89.5	-0.3
61562-65	G34_43_0 coarse dither	14:07	0.059	1.88	259		58	-89	89.5	-0.3
		14:35 shut down the telescope

Date (yyyy-mm-dd):	2014 July 07 UT
Observers:	Lei Qian, Zhichen Pan, remote observers
Observing conditions:	Temp 4.2 C, tau 0.060 (beginning of night at UT 8:38)
Comments:	Dome opened at 07:40 UT
	DSOS started at 08:00 UT
61566	Mars	08:39	0.06					-51.8	65.7	-0.5					s5					180
61567	Mars	08:46	0.06					-51.8	65.7	-0.4					s5					180
61568	Mars	08:52	0.064					-51.8	65.7	-0.3					s5					180
61569	Mars	08:57	0.058					-51.8	65.7	-0.2					s5					180
61570	Mars	09:02	0.058					-51.8	65.7	-0.1					s5					180
61571	Mars	09:06	0.058					-51.8	65.7	-0.2					s5					180
61572-61575	Sdc 13 Sharp standard		0.06					-51.8	65.7	-0.2					s5					180
61576-61579	Sdc 13 Sharp standard		0.066					-51.8	65.7	-0.2					s5					180
61580-61583	Sdc 13 Sharp standard		0.071					-51.8	65.7	-0.2					s5					180
61584-61587	Sdc 13 Sharp standard		0.071					-51.8	65.7	-0.2					s5					180
61588-61590	Sdc 13 cancelled Sharp standard		0.067					-51.8	65.7	-0.2					s5					180
61591-61594	Sdc 13 Sharp standard		0.061					-51.8	65.7	-0.2					s5					180
61595-61598	Sdc 13 coarse dither		0.052					-51.8	65.7	-0.2					s5					180
61599	neptune		0.057					-51.8	65.7	-0.2					s5					180
61600	neptune		0.057					-51.8	65.7	-0.3					s5					180
61601	neptune		0.077					-51.8	65.7	-0.1					s5					180
61602-61604	Sdc 13 cancelled coarse dither		0.087					-51.8	65.7	-0.2					s5					180
61605-61608	Sdc 13 coarse dither		0.101					-51.8	65.7	-0.2					s5					180