## Sheet1
				a
			(225 GHz)					Used	Used	Used	X-Strt	Y-Strt	X-Stp	Y-Stp	Init HWP pos	Step HWP	Scan	Meas.	Meas.	Meas.	Meas.	Chop	int time/hwp			RAO/FIELD	DECO/FIELD
Scan#	Comments	UT	CSO tau	Airmass	AZ	ZA	Par. Ang.	FAZO	FZAO	FOC/OFF					Pattern	Signal	FAZO	FZAO	FWHM	Throw	(sec)

Scan patterns:
s2= sweep 10 10 /yamp =10 /yper=14.142 /alt					row 0				For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				Used P=1.6; I=3.9; D=4.6; G=4.2 (Sept 2010; Dec 2011)
s3= sweep 10 20 /yamp =10 /yper=28.284 /alt					row 1	Chop PIDG parameters:			For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				We have new PIDG values were P=1.6; I=3.7; D=4.6; G=4.2
s4= sweep 20 20 /yamp =10 /yper=14.142 /alt					row 2				For 120"		UIP Cmnd: "sec 120 0.925925925 4 4"				In the past the PIDG values were P=2.0; I=4.4; D=4.6; G=4.2
s5= sweep 30 20 /y 20 14.142 /alt		NOTE THIS IS NEW SYNTAX 2009					row 3				For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				We have new PIDG values were P=1.62; I=3.56; D=4.71; G=4.22
s6= sweep 80 20/ yamp =80 /yper=28.28 /alt					row 4				For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				We successfully tested the PIDG values from computer P=1.6; I=3.9; D=4.6; G=4.2
				(used successfully September 2009)
s7= sweep 10 20 /yamp = 10 /yper=14.142 /alt					row 5				For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				We successfully tested the PIDG values from computer P=2.0; I=4.4; D=4.6; G=4.2
s8= sweep 45 20 /yamp = 45 /yper =14.142 /alt					row 5					(last tested January 2009 - but these failed to work in September 2009)
s9= sweep 20 20 /yamp=20 /yper = 14.142 /alt					row 6				For 180"		UIP Cmnd: "sec 180 0.925925925 4 4"				We successfully tested the PIDG values from computer P=1.70; I=4.2; D=4.6; G=4.2
s10= Box_scan 228.571 240 20.0 45					row 7				For 300"		UIP Cmnd: "sec 300 0.925925925 4 4"				We used new PIDG values: P=1.6; I=3.8; D=4.8; G=4.2
s11= sweep 5 5 /yamp =5 /yper=14.142 /alt

Date (yyyy-mm-dd):	2014 June 10 UT
Observers:	S. Radford, Baobab Liu
Observing conditions:
Comments:	test system;
	open shutter	05:59
	dsos on	07:15
	HWP: 20 deg C

61831	cal_16293m2422					-92	80	-0.1					s5		-96	79	13.9		180
61832	cal_16293m2422					-95	80	-0.3					s5		-92	80	12.6
61833	cal_16293m2422					-92	80	-0.5					s5		-89	81	15.05
61834	cal_16293m2422					-92	80	-0.25					s5		-90	80	12.4
61835	cal_16293m2422					-92	80	-0.2					s5		-90	81	13.2
61836	cal_16293m2422: disaster					-92	80	-0.275					s5
61837	cal_16293m2422					-92	80	-0.25					s5		-90	83	12.5

61838	pallas					-92	80	-0.25					s5					300
61839	pallas					-92	80	-0.25					s5					300

61840-43	cal_16293m2422					-93	87	-0.25					50	22.5	chop					210	90

	end system check-out; all systems seem OK
	nod lengths OK; DSOS ok; detector cold
	hwp angles good (staircase OK)
	measured chop throw is 209” instead of 210” but
	stable across the four HWp angles

Date (yyyy-mm-dd):	2014 June 11 UT
Observers:	Baobab Liu
Observing conditions:
	open shutter	07:31
	start DSOS	08:20
	Hwp 17.5 deg C	08:20

Date (yyyy-mm-dd):	2015 June 19 UT
Observers:	Gang Wu
Observing conditions:
	open shutter	05:59
	start DSOS	06:52
	Hwp 8. deg C	07:19

62224	cal_16293m2422				148	51		-92	87	-0.23					s5		-86	87	11.7		180
62225	cal_16293m2422					-86	87	-0.1					-87	86	12.9
62226	cal_16293m2422					-86	87	-0.35					-87	87	11.9					-0.35
62227	cal_16293m2422					-86	87	-0.3					-88	85	12.3
62228	cal_16293m2422					-86	87	-0.25					-89	87	12.2

62229	pallas; cancelled				72	27		-86	97	-0.25					s5
62230	pallas					8.9
622231	I18360?
62232-62254	I18360
62255	cal_16293m2422
62256-75	G35.2N
62276	Uranus					-88.2	92.1	8.64
62277-80	cyg_s34

Date (yyyy-mm-dd):	2015 June 20 UT
Observers:	Junhao Liu
Observing conditions:
	open shutter	06:00
	start DSOS	07:10
	Hwp 8. deg C

62281	cal_16293m2422	07:16					-91.1	84.5	-0.25					-91.1	84.5
62282	pallas	07:39
62283-98	i18360
62299	cal_16293m2422
62300	cal_16293m2422					-92.2	88.3	-0.23					13.12
62301	cal_16293m2422	10:09					-0.28					12.37
62302-05	G35.2N
62306	cal_16293m2422	11:11					-0.28					11.66
62307-18	G35.2N
62319	Neptune	13:32					-83.7	90.4	-0.28					8.66
62320-27	cyg_s34
62328	Uranus	15:00					-0.28					8.75

Date (yyyy-mm-dd):	2015 June 24 UT
Observers:	Gang Wu, Junhao Liu
Observing conditions:
	open shutter	06:00 ut
	start DSOS	06:57
	Hwp 8. deg C

62329	cal_16293m2422
62330	cal_16293m2422	07:03					-94.2	79.6	-0.5					11.28
62331	pallas
62332	Pallas – aborted
62333	pallas					662462
62334-53	I16547
DSOS errors:	62344, 62345
62354	cal_16293m2422	10:23					-94.2	79.6	-0.5					13.32
62355	cal_16293m2422	10:30					-88	87.7	-0.28					11.47
DSOS error:	62355
62356	cal_16293m2422					-88	87.7	-0.23					11.32
62357	cal_16293m2422	11:02					-88	87.7	-0.2					11.56
62358	pallas	11:06					-88	87.7	-0.23
62359-74	SD13_MM1
DSOS errors:	62359-62, 62370
62375	Neptune	13:48					-88	87.7	-0.23					9.05
62376-83	cyg_s34
DSOS error:	62377-79
62384	Uranus	14:56					-83.2	90.1	-0.23					9
62383-88	cyg_s34
DSOS error:	62386-88

Date (yyyy-mm-dd):	2015 June 25 UT
Observers:	Zhichen Pan, Lei Qian
Observing conditions:
	open shutter	06:00 ut
	start DSOS	06:53

62389	cal_16293m2422	07:10	0.037	1.543	152	49	-28.6	-84	82	-0.5					13.69		180
62390	cal_16293m2423	07:21:00 AM	0.038	1.503	156	48

Date (yyyy-mm-dd):	20150630 UT
Observer	Zhichen Pan
	continue observation from MUSIC
	09:16 UTC
error? Only creating files.	cal_16293m2422	09:23	0.062		199.6	46.5	20.2	-84	82	-0.5
62469	cal_16293m2422	09:51	0.065		207	49	28	-84	82	-0.5
	forget of setting filters!
62470	cal_16293m2422	09:55	0.065		208	49.6	29.1	-84	82	-0.5					13.13
62471	cal_16293m2422	09:56	0.065		208.6	49.6	29.5	-84	82	-0.3					11.82
62472	cal_16293m2422	10:00	0.063		209.5	50	30.4	-84	82	-0.1					11.96
62473	Pallas	10:03	0.063	1.031	293.3	14	107.7	-84	82	-0.3					9.6
62474-62477	Oph-b-w1	10:19	0.06	1.674	215	53	36.5	-84	82	-0.2
62478-62481	W31-2	10:52	0.067	1.349	198.8	41.8	18.7	-84	82	-0.2
62482	W31-3	11:19	0.071	1.406	207.4	44.4	27.4	-84	82	-0.2
62483-62486	W31-3	11:34	0.078	1.449	211	46	31.6	-84	82	-0.2
62487-62490	w42-w1	12:11 minus one exposure	0.064	1.249	226	36.5	43.3	-84	82	-0.2
62491-62493	w42-w2	12:33	0.053	1.32	232.5	40.5	48.7	-84	82	-0.2
62494-62497	w42-se	12:55	0.06	1.415	237	44.75	53.1	-84	82	-0.2
62498-62501	w42-n	13:24	0.066	1.588	243.1	50.7	57.6	-84	82	-0.2
62502-62504	w42-n	13:52	0.063	1.838	247.6	56.7	61	-84	82	-0.2
62505-62508	W31-2	14:14	0.065	3.708	241.2	74	61.4	-84	82	-0.2
62509-62512	w42-s	14:43	0.036	2.683	253.8	67.8	65.5	-84	82	-0.2
62513-62516	w49	15:12	0.043	2.124	270	61.6	72.3	-84	82	-0.2
62517	w49	15:40	0.032	2.75	272.5	68.4	72.2	-84	82	-0.2