## Sheet1
|  |  | (225 GHz) |  |  |  |  | Used | Used | Used | X-Strt | Y-Strt | X-Stp | Y-Stp | Init HWP pos | Step HWP | Scan | Meas. | Meas. | Meas. | Meas. |  | int time/hwp | RAO/FIELD | DECO/FIELD
Scan# | Comments | UT | CSO tau | Airmass | AZ | ZA | Par. Ang. | FAZO | FZAO | FOC/OFF | [6 empty] | Pattern | Sig. | FAZO | FZAO | FWHM | Chop th | (sec)
Scan patterns:
s2= sweep 10 10 /yamp =10 /yper=14.142 /alt
s3= sweep 10 20 /yamp =10 /yper=28.284 /alt | [6 empty] | row 1 | Chop PIDG parameters: |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We have new PIDG values were P=1.6; I=3.7; D=4.6; G=4.2
s4= sweep 20 20 /yamp =10 /yper=14.142 /alt | [6 empty] | row 2 |  |  |  | For 120" |  | UIP Cmnd: "sec 120 0.925925925 4 4" |  |  |  | In the past the PIDG values were P=2.0; I=4.4; D=4.6; G=4.2
s5= sweep 30 20 /y 20 14.142 /alt |  | NOTE THIS IS NEW SYNTAX 2009 |  |  |  |  | row 3 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We have new PIDG values were P=1.62; I=3.56; D=4.71; G=4.22
s6= sweep 80 20/ yamp =80 /yper=28.28 /alt | [6 empty] | row 4 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We successfully tested the PIDG values from computer P=1.6; I=3.9; D=4.6; G=4.2
(used successfully September 2009)
s7= sweep 10 20 /yamp = 10 /yper=14.142 /alt | [6 empty] | row 5 |  |  |  | For 300" |  | UIP Cmnd: "sec 300 0.925925925 4 4" |  |  |  | We successfully tested the PIDG values from computer P=2.0; I=4.4; D=4.6; G=4.2
s8= sweep 45 20 /yamp = 45 /yper =14.142 /alt | [6 empty] | row 5 | [9 empty] | (last tested January 2009 - but these failed to work in September 2009)
s9= sweep 20 20 /yamp=20 /yper = 14.142 /alt | [10 empty] | For 180" |  | UIP Cmnd: "sec 180 0.925925925 4 4" |  |  |  | We successfully tested the PIDG values from computer P=1.70; I=4.2; D=4.6; G=4.2
s10= Box_scan 228.571 240 20.0 45
Date (yyyy-mm-dd): | 2010 May 31 UT
Observers: | JD, GN, LZ
Observing conditions: | tau is hovering around 0.06, sky is clear
Comments: | wind is low but CSO wind sensor reads 49 flashing
| Dome open to 88% - we are restricted to ZA>16 | 5:20
(This is due to problem with dome)
| Moved to ZA 45 | 5:40
| Set heaters to 15V each, b/c temp = +4C | 5:45
| DSOS ready, chopper working with 180 arcsec chop | 6:40
waveform was good but suddenly got quite poor
but its probably usable … it’s a bit gusty … wind?
51039 | Mars, pointing and focusing | 7:04 | 0.053 | 1.5 | 271 | 48 | 75 | -84 | 82 | -0.5 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51040 | Mars, pointing and focusing | 7:19 | 0.056 | 1.614 | 272 | 51 | 75 | -84 | 82 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51041 | Mars, pointing and focusing | 7:25 | 0.063 | 1.67 | 273 | 53 | 75 | -94 | 81 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51042 | Mars, pointing and focusing (Source is setting) | 7:33 | 0.063 | 1.74 | 274 | 55 | 75 | -94 | 81 | 0 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51043 | Mars, pointing and focusing (Source is setting) | 7:38 | 0.05 | 1.792 | 274 | 55 | 75 | -94 | 81 | 0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51044 | Mars, pointing and focusing (Source is setting) | 7:43 | 0.038 | 1.856 | 274 | 57 | 75 | -94 | 81 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51045 | Cal_16293m2422 | 8:20 | 0.063 | 1.66 | 45 | 53 | -35 | -94 | 81 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51046-51049 | CB68 | 8:38 | 0.059 | 1.48 | 137 | 47 | -41 | -91 | 82 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 180 | 90
51050 | CB68 Single Polarimetry File
Network delay problems. Giles has increased the delay between starting a file and when the IRC instructs the telescope to move from its first nod position, to give it time to create a data file.
51051 | CB68 Single Polarimetry File | 9:35 | 0.059 | 1.28 |  |  | -30 | -91 | 82 | -0.1 |  |  |  |  | 50 | [6 empty] | 180 | 90
Delay - did not solve problem.
Stop Chopper - will point on Cal_16293….
TLENGTH flashing
telescope won't move
recall WIND PK fllashing
paged Hiro (he was on call) and he stepped us
through the way to fix TLENGTH
(hold down toggle switch while toggling AZ around)
51052 | L483 | 10:35 | 0.039 | 1.19 | 136 | 32 | -41 | -91 | 82 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
51053 | L483 single polarimetry file | 10:50 | 0.055 | 1.16 | 141 | 30 | -36 | -89 | 85 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 180 | 90
sky noise on last angle
51054-51057 ABORT | L483 coarse dither | 11:01 | 0.054 | 1.143 | 146 | 28 | -31 | -89 | 85 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 180 | 90
still have long delay in beginning of file
This delay may be causing some file problems - will set delay back to 20 sec.
51058 - 51061 | L483 coarse dither | 11:19 | 0.07 | 1.121 | 154 | 26 | -23 | -89 | 85 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 180 | 90
058 had elec noise in rows 9-10 at 117.5
058 had first int 13 ; last had 11
I think these are the network delays and I think we
can fix it by adding to both total duration and initial
delay. Probably 10 sec to total and 5 to initial
059 - bad intermittent elec noise in rows 9, 10
with deglitching this should be removable as it seems
to last only a few seconds.
its so obvious in the total power than it should be easy
to remove with the right prefilter
files 59 and 60 seemed better (lowest count is 15)
sky noise came in at very end (maybe after dither over)
51062 - 51065 | L483 coarse dither | 11:49 | 0.062 | 1.1 | 171 | 24 | -8 | -89 | 85 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 179 | 90
moderate intermittent sky noise
again, this could be flagged in software if we had
a sky noise monitor
file 64 bad sky noise
bright yellow to green on 1 sec time scales
file 65 at end - bad sky noise
51066 (sky noise) | L483 pointing | 12:19 | 0.063 | 1.1 | 189 | 25 | 9 | -89 | 85 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
51067-51070 | L483 coarse dither | 12:30 | 0.064 | 1.106 | 196 | 25 | 15 | -92 | 82 | -0.1 | [11 empty] | 180 | 90
51071-51074 | L483 coarse dither (sky noise present) | 13:04 | 0.065 | 1.14 | 213 | 28 | 30 | -92 | 82 | -0.1 | [11 empty] | 180 | 90
Ignore file 51073 | Ignore file 73 - HWP did not move to 95
Increase power to HWP - 21 volts. Dome Temp =1 C
51075 | L483 pointing | 13:39 | 0.072 | 1.21 | 226 | 34 | 43 | -92 | 82 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
51076 | CAL_K350 pointing | 14:04 | 0.05 | 1.03 | -14 | 14 | 163 | -89 | 82 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
FAZO=-90 FZAO=85 focus still looks good
51077 Failed to copy since did not check copy box - user error | CAL_G34.3 pointing | 14:18 | 0.06 | 1.16 | 235 | 30 | 50 | -89 | 82 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51078 | CAL_G34.3 pointing | 14:26 | 0.06 | 1.18 | 138 | 32 | 53 | -89 | 82 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51079 | IRAS19180 Single Polarimetry File | 14:33 | 0.06 | 1.08 | 251 | 22 | 65 | -93 | 84 | -0.1 |  |  |  |  | 50 | [6 empty] | 180 | 90
51080 | IRAS19180 Sweep photometry | 14:46 | 0.063 | 1.107 | 254 | 25 | 67 | -93 | 84 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
51081 | IRAS19180 Sweep photometry | 14:49 | 0.06 | 1.137 | 257 | 28 | 69 | -93 | 84 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
Date (yyyy-mm-dd): | 2010 June 1 UT
Observers: | JD, GN, LZ
Observing conditions: | tau is hovering around 0.05, sky is clear
Comments: | wind is 35 mph at other observatories but CSO wind sensor reads 49 flashing
| Dome open to 88% - we are again restricted to ZA>16 | 6:25
(This is due to problem with dome)
| Moved to ZA 45 | 5:40
| Set heaters to 20V each, b/c temp = +1.5C | 6:35
| DSOS ready | 7:25
wind is 47 at another telescope and 56 here
…if you believe our wind monitor
| Set heaters to 22V each, b/c temp = +0.5C | 7:27
Close dome because of wind 40 mph
Open dome again - wind 30 mph |  | 11:20
51082 | CAL_G45.1 Point & focus | 11:24 | 0.047 | 1.093 | 109 | 24 | -65 | -84 | 82 | -0.5 | [5 empty] | 50 | s5 | [5 empty] | 180
51083 | CAL_G45.1 windspeed gusting 40mph | 11:29 | 0.047 | 1.084 | 110 | 22 | -64 | -90 | 83 | -0.2 | [5 empty] | 50 | s5 | [5 empty] | 180
51084 | CAL_G45.1 | 11:35 | 0.04 | 1.073 | 112 | 21 | -62 | -90 | 83 | 0 | [5 empty] | 50 | s5 | [5 empty] | 180
51085 | CAL_G45.1 | 11:40 | 0.04 | 1.067 | 113 | 20 | -61 | -90 | 83 | 0.2 | [5 empty] | 50 | s5 | [5 empty] | 180
Close dome because wind persistently above 40 mph …. ARRGH! |  | 11:58
Wind drops below 40mph |  | 13:05
51086 | L483 pointing | 13:10 | 0.035 | 1.154 | 217 | 29 | 34 | -92 | 84 | 0 | [5 empty] | 50 | s5 | [5 empty] | 300
51079 | L483 Single Polarimetry File | 13:23 | 0.04 | 1.18 | 222 | 31 | 39 | -94 | 87 | 0 |  |  |  |  | 50 | 22.5 | [5 empty] | 180 | 90
kilauea monitors died suddenly
51088 | L483 Single Polarimetry File | 13:43 | 0.049 | 1.22 | 229 | 35 | 45 | -94 | 87 | 0 |  |  |  |  | 50 | 22.5 | [5 empty] | 180 | 90
sky noise coming in
it looks like its just a monitor problem
did video card on computer die?
we went to a 300 arcsec chop - sept 2009 params
sky noise
ring around moon - perhaps some cirrus?
51089 - note bigger chop | L483 Single Polarimetry File | 14:04 | 0.023 | 1.28 | 234 | 38 | 50 | -94 | 87 | 0 |  |  |  |  | 50 | 22.5 | [5 empty] | 300 | 90
51090-93 | L483 coarse dither | 14:10 | 0.023 | 1.31 | 236 | 40 | 51 | -94 | 87 | 0 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 300 | 90
file 91 has occasional sky noise; file 90 seemed OK
but rows 9 and 10 are really noisy on I map
file 92 … sky noise in first HWP posn … and 2nd
don't really notice a row 9-10 problem on IRC display
but we see consistent problems in I-map
this makes me wonder if it’s a gain problem?
mderate sky noise (yellow) on several sec time scales
51094-97 | L483 coarse dither | 14:40 | 0.045 | 1.449 | 242 | 46 | 57 | -94 | 87 | 0 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 300 | 90
Chopper throw 298
Abort at 51094 since client seems hung at HWP=95. Not a simple fix. Start closing down for the night - but will try and diagnose problem.
the HWP problem seemed serious in that we could
not move it via the client at all, and even restarting
the client did not help
we had to restart the server (which was hard to do
because we could not kill the existing server due
to the monitors problem)
Darren told us how to kill and restart the server
in sharcii: ps -e ¦ grep java
kill -9 "PID"
then restart … then exit … then restart
then restarted client and took a fake data file
telescope was nodding and hwp was moving
we don't know what went wrong
maybe this was the result of having two clients running?
push red button as last step in shutdown
Date (yyyy-mm-dd): | 2010 June 2 UT
Observers: | JD, GN, LZ
Observing conditions: | tau is hovering around 0.03, sky is clear
Comments: | wind is 25-50 mph at other observatories; CSO 36 mph
| Dome open to 87% - we are again restricted to ZA>16 | 5:20
(This is due to problem with dome)
| Set heaters to 15V each, b/c temp = +3.4C | 5:20
wind is 30 at other telescopes and 44 here
…if you believe our wind monitor (I don't)
| Set heaters to 18V each, b/c temp = +1.8C | 5:29
we are trying an experiment to be sure that the yellow 1 second time scale stuff is really sky noise. Put absorber just outside of SHARP box 4 to block beam
indeed the sky noise is gone so ir really was sky noise; the green is slowly getting darker as the absorber cools
| starting chopper at 180 arcseconds | 6:16
sky noise moderately bad but no red
| DSOS ready | 6:20
windspeed is 56 at UH 88 inch and 46 at CSO
we may have to close soon
| chopper is ready | 6:23
51096 | Mars, pointing and focusing | 6:34 | 0.032 | 1.35 | 268 | 42 | 75 | -94 | 81 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51097 | Mars, pointing and focusing | 6:43 | 0.043 | 1.39 | 269 | 44 | 75 | -95 | 86 | 0 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
sky noise seems gone; maybe we are in a good
part of the sky
51098 | Mars, pointing and focusing | 6:47 | 0.043 | 1.41 | 269 | 44 | 75 | -95 | 86 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
oops, spoke too soon - one huge gust of wind seemed
correleate with burst of yellow across IRC
51099 | Mars, pointing and focusing | 6:50 | 0.043 | 1.43 | 270 | 45 | 75 | -95 | 86 | -0.3 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
yes indeed sky noise is back and pretty bad after
a few minutes of perfect green
51100 | Mars, pointing and focusing | 6:54 | 0.029 | 1.46 | 270 | 46 | 75 | -95 | 86 | 0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
sky noise is very bad - into the red
51101 | Mars, pointing and focusing | [8 empty] | 0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51102 | cal_1629m2422 | 7:15 | 0.05 | 2.11 | 134 | 61 | -48 | -94 | 85 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
wind check: UH 88 at 48 CSO at 42
sky noise better over here but present at some level
51103 | CB 68 pointing check | 7:25 | 0.032 | 1.96 | 124 | 59 | -54 | -92 | 83 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
51104 | CB 68 Single Polarimetry File | 7:35 | 0.031 | 1.84 | 126 | 57 | -53 | -92 | 83 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 180 | 90
51105-08 | CB 68 coarse dither | 7:44 | 0.055 | 1.77 | 128 | 55 | -51 | -92 | 83 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
wind - 52 at UH 88; 34 at CSO meter
FILE 06 has HWP problem at 72.5 ( got a -4 error)
WE DIAGNOSED THE PROBLEM AS PROBLEM 2
(repeated angles) BY LOOKING AT IT WITH READSHARC
MIRACULOUSLY SKY NOISE IS ABSENT THRU FILE 07
51109-12 | CB 68 coarse dither | 8:12 | 0.035 | 1.56 | 134 | 50 | -45 | -92 | 83 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
51113-16 | CB 68 coarse dither | 8:41 | 0.037 | 1.42 | 140 | 45 | -39 | -92 | 83 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
HWP was BAD for file 116 SAME PROBLEM 50 repeated twice
51117 | L 483 pointing check | 9:13 | 0.033 | 1.46 | 117 | 46 | -57 | -92 | 83 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
51118 | L 483 single pol file | 9:23 | 0.039 | 1.4 | 119 | 44 | -55 | -90 | 87 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 178 | 90
51119-22 | L 483 coarse dither | 9:31 | 0.026 | 1.37 | 120 | 43 | -54 | -90 | 87 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
NOTE 118 HAD SAME HWP PROB AS 116
BUT WE THINK HWP IS OK AND TAGE CAN TELL US FOR SURE
NOTE: the sky noise has been totally gone UNTIL file 122 AND its looking pretty bad
we started the night with corner shadows and then they went away and the data were perfect for a time
I say corner shadows because they have the curvature of corner shadows on the IRC screen
51123 - 26 | L 483 coarse dither | 10:01 | 0.037 | 1.26 | 127 | 37 | -48 | -90 | 87 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
windspeed < 30 everywhere … yaay
NOTE: sky noise has been continuously plauging us - even going to red thru file
| Decrease HWP heaters voltages to 18V, dome temp=3C | 10:30
51127 | L 483 pointing check | 10:31 | 0.034 | 1.182 | 137 | 32 | -39 | -90 | 87 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
Something is wrong. No source found. ??? Repeat.
51128 | L483 pointing check | 10:43 | 0.034 | 1.158 | 142 | 30 | -35 | -90 | 87 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
51129 | L483 single pol file | 10:52 | 0.038 | 1.144 | 145 | 28 | -32 | -92 | 90 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 178 | 90
51130 -33 | L483 Course dither | 11:11 | 0.03 | 1.129 | 151 | 27 | -27 | -92 | 90 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
Bad skynoise in file 32.
HWP is behaving
51134 - 37 | L483 Course dither | 11:32 | 0.031 | 1.105 | 165 | 25 | -13 | -92 | 90 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
File 37 had HWP error - two 50's
51138- 41 | L483 Course dither | 12:02 | 0.041 | 1.099 | 183 | 24 | 3 | -92 | 90 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
Skynoise in some of these files - e.g. 41
51142 - 45 | L483 Course dither | 12:31 | 0.04 | 1.112 | 200 | 26 | 19 | -92 | 90 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
Bad rows in file 42
Bad skynoise in file 45.
51146 | L483 pointing check | 13:01 | 0.038 | 1.147 | 215 | 29 | 33 | -92 | 90 | -0.1 | [6 empty] | s5 | [5 empty] | 300
no source: Chop Azo still equal to -89. Redid "Observe L483" Chop AZO set to zero - Will now do pointin check.
51147 | L483 pointing check | 13:12 | 0.039 | 1.165 | 219 | 30 | 37 | -92 | 90 | -0.1 | [6 empty] | s5 | [5 empty] | 300
51148 | L483 Single pol file Meas. Chop = 178.8 | 13:21 | 0.039 | 1.165 | 223 | 32 | 40 | -95 | 88 | -0.1 |  |  |  |  | 50 | 22.5 | [6 empty] | 90
51149 -51152 (Aborted) | L483 Course Dither | 13:30 | 0.038 | 1.21 | 227 | 34 | 44 | -95 | 88 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
Concerned that we have ref beam contamination - should have gone to the larger chop throw.
Abort Dither set. Change chop throw to 300.
51153 | L483 Single pol file Chop = 300 | 13:51 | 0.043 | 1.26 | 232 | 37 | 48 | -95 | 88 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 300 | 90
TLENGTH is flashing: (errors in degrees)
Disengaed tracking - issued a za command close to actual za. Then did a AZ so the requested value for AZ (RAZ) was closer to the actual AZ (AAZ) - about halfway released the limit - and TLENGTH returned to about 0.
51154 | L483 Single pol file Chop = 300 | 14:21 | 0.038 | 1.373 | 240 | 43 | 54 | -95 | 88 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 300 | 90
Jackie writes: Skynoise not good; Measured Chop = 299.4; 36% efficency
51155 - 58 | L483 Course Dither | 14:25 | 0.054 | 1.392 | 240 | 44 | 55 | -95 | 88 | -0.1 |  |  |  |  | 50 | 22.5 | [6 empty] | 90
Lingzhen writes: 55,56: bad skynoise. Went red very quickly after "level".
Lost track on file 58 - Tlength out of range
51159 | L483 pointing check | 15:02 | 0.045 | 1.626 | 247 | 51 | 60 | -95 | 88 | -0.1 | [6 empty] | s5 | [5 empty] | 300
51160 | SERP-FIR1 pointing check | 15:17 | 0.049 | 1.55 | 254 | 49 | 64 | -95 | 85 | -0.1 | [6 empty] | s5 | [5 empty] | 180
pointing was good
51161 | SERP-FIR1 single polarimetry file | 15:23 | 0.052 | 1.59 | 255 | 50 | 65 | -94 | 86 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 300 | 90
no sky noise in the above file
51162-65 | SERP-FIR1 Course Dither | 15:30 | 0.053 | 1.81 | 257 | 56 | 67 | -94 | 86 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 300 | 90
DSOS is still working
chop throw good; last dither checks out good
| start closing dome | 15:58
END OF NIGHT
Date (yyyy-mm-dd): | 2010 June 3rd UT
Observers: | JD and LZ
Observing conditions: | Started to open shutter at 6:00 UT (8pm local)
Comments: | Wind is low; Tau 0.04
51166 | Mars, pointing and focusing | 7:19 | 0.041 | 1.672 | -88 | 53 | 75 | -84 | 82 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
Low skynoise; FZAO and FAZO too incorrect - so fitting program Sharp_Both gave nonsence results (i.e. did not use peak of Mars) Will repeat using FAZO and FZAO from last night
51167 | Mars, pointing and focusing | 7:28 | [5 empty] | -94 | 81 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51168 | Mars, pointing and focusing | 7:30 | 0.041 | 1.8 | -86 | 56 | 74 | -98 | 78 | 0 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51169 | Mars, pointing and focusing | 7:37 | 0.041 | 1.857 | -86 | 57 | 75 | -98 | 78 | 0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51170 | Mars, pointing and focusing | [6 empty] | -98 | 78 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51171 | Mars, pointing and focusing | 7:48 | 0.044 | 2.017 |  |  |  | -98 | 78 | -0.3 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51172 | Ceres Pointing (good pointing object) | 8:16 | 0.041 | 2.49 | 129 | 65 | -52 | -98 | 78 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51173 | CB68 pointing check | 8:22 | 0.041 | 1.499 | 136 | 48 | -43 | -96 | 80 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51174 | CB68 single polarimetry file | 8:38 | 0.041 | 1.433 | 140 | 45 | -39 | -96 | 80 | -0.2 |  |  |  |  | 50 | 22.5 | [5 empty] | 180 | 90
Meas Chop = 177.5; 45% efficent
51175 - 78 | CB68 Course Dither | 8:40 | 0.046 | 1.396 | 142 | 44 | -36 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
Skynoise is low. DSOS is working.
In File 75 - HWP failed to move to 72.5 …but followed on to 95 and 117.5; Hopefully just a error #2.
File 78 - yellow skynoise then later went to red
51179 - 82 | CB68 Course Dither | 9:17 | 0.04 | 1.31 | 152 | 40 | -27 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
Skynoise - green
File 80 - yellow skynoise - but then returned to green; File 81 yellow skynoise; File 82 yellow skynoise
51183 | L483 pointing (green) | 9:44 | 0.046 | 1.305 | 125 | 40 | -51 | -96 | 80 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
51184 | L483 single polarimetry file | 9:54 | 0.046 | 1.269 | 127 | 37 | -48 | -96 | 80 | -0.2 |  |  |  |  | 50 | 22.5 | [5 empty] | 178 | 90
Some blue pixels in bottom of array
Measured Chop = 176.9; 45% efficency
51185 - 88 | L483 Course Dither | 10:03 | 0.042 | 1.24 | 127 | 36 | -46 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 176 | 90
File 87 skynoise blue
Measured Chop = 177; 45% efficency
51189 - 92 | L483 Course Dither | 10:33 | 0.039 | 1.169 | 139 | 31 | -37 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 177 | 90
Files 90, 91, 92 - yellow skynoise then green then yellow then green -
51193 - 96 | L483 Course Dither | 11:06 | 0.045 | 1.114 | 157 | 28 | -21 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 177 | 90
Sky seems stable
51197 - 200 | L483 Course Dither | 11:30 | 0.044 | 1.102 | 169 | 25 | -9 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 177 | 90
Measured Chop still 177 at 45% efficency
51201 - 04 | L483 Course Dither | 11:55 | 0.048 | 1.099 | 182 | 24 | 2 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 177 | 90
File 201 some yellow skynoise; File 22 bad HWP - did not move to 95 and 117.5; moved to 85 and 127 according to "readsharc"
51205-08 | L483 Course Dither | 12:24 | 0.059 | 1.11 | 198 | 25 | 17 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 177 | 90
CHOP 300 | Change Chop to 300 - because of reference beam contamination
51209 | L483 Single Polarimetry File (Chop 300) | 12:59 | 0.043 | 1.15 | 216 | 29 | 33 | -96 | 80 | -0.2 |  |  |  |  | 50 | 22.5 | [5 empty] | 300 | 90
(Green screen) Measured Chop = 297.5 ; 29% efficency; Will have UIP recalculate another chop at 300. try to increase efficency a bit.
51210 | L483 Single Polarimetry File (Chop 300) | 13:11 | 0.045 | 1.171 | 220 | 31 | 38 | -96 | 80 | -0.2 |  |  |  |  | 50 | 22.5 | [5 empty] | 300 | 90
(Green screen -but later some yellow) Measured Chop = 297.4 ; 30% efficency
51211 -14 | L483 Course Dither | 13:21 | 0.045 | 1.19 | 224 | 32 | 41 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 298 | 90
212, 213, 214 yellow screen; 214 later has red
51215 -18 | L483 Course Dither | 13:51 | 0.048 | 1.272 | 233 | 37 | 49 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 298 | 90
Tau=0.063 by last file in this dither.
51219-22 | L483 Coure Dither | 14:18 | 0.063 | 1.38 | 239 | 43 | 54 | -96 | 80 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 298 | 90
File 220 has a HWP error - last angle 10 deg instead of 117.5
221 - yellow screen;
51223 | CAL_G45.1 pointing Check | 14:47 | 0.054 | 1.158 | 257 | 30 | 69 | -96 | 80 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
51224 ABORTED (by mistake) | IRAS19180 Single Polarimetry File
51225 Aborted (wrong initial HWP angle) | IRAS19180 Single Polarimetry File | 15:00 | 0.054 | 1.17 | 259 | 31 | 70 | -97 | 83 | -0.2 |  |  |  |  | 50 | 22.5 | [5 empty] | 300 | 90
51226 | IRAS19180 Single Polarimetry File | 15:07 | 0.058 | 1.19 | 260 | 32 | 71 | -97 | 83 | -0.2 |  |  |  |  | 50 | 22.5 | [5 empty] | 300 | 90
Can't see source. Will do a sweep map to see if it is there.
51227 | IRAS19180 pointing file | 15:19 | 0.055 | 1.232 | 261 | 35 | 72 | -97 | 83 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
Source is very faint; will go to B335 to compare.
51228 | B335 pointing file | 15:27 | 0.052 | 1.223 | 254 | 35 | 66 | -97 | 83 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 300
B335 - is bright. - ~4 times brighter than IRAS19180. Hmmm… should be only twice as bright. Will check my flux reference.
END OF NIGHT
Date (yyyy-mm-dd): | 2010 June 4th UT
Observers: | JD and LZ
Observing conditions: | Taking telescope over from CSO Engineering Crew (Richard and Hiro) at 12 midnight local - 10 UT; Start up DSOS (as well as SHARC II etc…)
Comments: | Wind is low; Tau 0.065
51229 Aborted - a mistake | CAL_G45.1 Pointing and focus
51230 | CAL_G45.1 Pointing and focus | 10:39 | 0.055 | 1.17 | 102 | 31 | -70 | -84 | 82 | -0.5 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51231 | CAL_G45.1 Pointing and focus | 10:45 | 0.069 | 1.17 | 103 | 29 | -68 | -91 | 84 | -0.02 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51232 | CAL_G45.1 Pointing and focus | 10:51 | 0.072 | 1.17 | 104 | 28 | -68 | -93 | 86 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51233 | CAL_G45.1 Pointing and focus | 10:58 | 0.072 | 1.123 | 105 | 26 | -67 | -92 | 86 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51234 CHOP 300 | SERP-FIR1 single polarimetry file | 11:11 | 0.077 | 1.08 | 145 | 22 | -32 | -92 | 86 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 300 | 90
Meas Chop 299 ; 37% to 40% efficency
51235 - 38 | SERP-FIR1 Course Dither | 11:21 | 0.07 | 1.07 | 151 | 21 | -26 | -92 | 86 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 300 | 90
37 - a blue patch apears on array - detector noise?
51239 - 42 | SERP-FIR1 Course Dither | 11:50 | 0.068 | 1.056 | 171 | 18 | -26 | -92 | 86 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 300 | 90
Meas Chop = 299; 34% efficency; green screen
Mild detector noise in a small cluster of detectors
File 42 - HWP error - no 95 position
51243 - 46 | SERP-FIR1 Course Dither | 12:19 | 0.073 | 1.059 | 195 | 19 | 14 | -92 | 86 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 300 | 90
Last file, 46, may have some ref beam contamination. The bad angles for ref beam are 25 - 70 (conservatively). File 42 ranges from 25 - 30
| Cal_G45.1 Pointing | 12:50 | 0.078 | 1.013 | 190 | 9 | 10 | -92 | 86 | -0.1 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51247 | Note: za is less than 15 degrees - could have some shutter vignetting the primary -but see no effects. The shutter is at 87.2.%
51248 Chop 180 | B335 single polarimetry file | 13:06 | 0.074 | 1.023 | 178 | 12 | -1 | -96 | 81 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 180 | 90
Note: za is less than 15 degrees - could have some shutter effects. BEWARE!
Small cluster of bad detectors persist [2,9] - [2,12] and [3,10]- yellow.
Meas Chop 178; 46% efficency
51249 (BEWARE za < 15) | B335 single polarimetry file | 13:13 | 0.074 | 1.024 | 186 | 12 | 6 | -96 | 81 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 178 | 90
Note: za still less than15 degrees - I don't see any affects but BEWARE! Will keep doing single polarimetry files until za is 15 degrees
51250 (za < 15) | B335 single polarimetry file | 13:21 | 0.074 | 1.025 | 186 | 12 | 15 | -96 | 81 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 178 | 90
51251 (za <15) | B335 single polarimetry file | 13:28 | 0.078 | 1.027 | 186 | 13 | 22 | -96 | 81 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 178 | 90
51252 (za < 15) | B335 single polarimetry file | 13:38 | 0.072 | 1.032 | 212 | 14 | 30 | -96 | 81 | -0.1 |  |  |  |  | 50 | 22.5 | [5 empty] | 178 | 90
51253 -56 | B335 Course Dither | 13:45 | 0.075 | 1.037 | 218 | 15 | 36 | -96 | 81 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
File 54 - dark top row of detectors causes dointeg image to look nearly all pink. And there is other detector noise - be suspecious of this file
File 56 has a first HWP error; Did not move to 50 from the last file - apparently. All other HWP angles OK.
DSOS looks good
51257- 60 | B335 Course Dither | 14:15 | 0.071 | 1.068 | 236 | 20 | 51 | -96 | 81 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
In general skynoise is low - i.e., screen is green
51261 - 64 | B335 Course Dither | 14:44 | 0.078 | 1.117 | 245 | 26 | 60 | -96 | 81 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
The dointeg map for File 62 does not look good. Bad detector rows. Dointeg image of Files 63 doesn't look so good either. Dointeg image of File 64 looks bad.
I don't really understand why these images look so bad - since the array screen is mostly green all the time. However, every now and then a small section of the array "glows". I.e., it comes and goes.
Hopefully - the bad detectors can be removed from the data reduction.
51265 - 68 | B335 Course Dither | 15:12 | 0.078 | 1.187 | 252 | 32 | 64 | -96 | 81 | -0.1 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 178 | 90
Detectors [2,8] thru [2,12] and [3,10] [3,9]- continue to glow yellow in a cycle of some sort. Hopefully can remove these from the data reduction.
File 67 has bad detector noise.
END OF NIGHT
Date (yyyy-mm-dd): | 2010 June 5 UT
Observers: | JD, LZ, JP, JK
Observing conditions: | tau is hovering around 0.1, sky is clear; wind is low
Comments: | TONIGHT IS OUR FIRST HIGH-TAU NIGHT
…BUT had to pack up and leave, since the HCN back-end cannot be tuned. Brian will come up tomorrow (Saturday) to fix it.
No Data
END OF NIGHT
Date (yyyy-mm-dd): | 2010 June 6 UT
Observers: | JD, JP, JK
Observing conditions: | tau is hovering around 0.1, sky is clear; wind is low
Comments: | TONIGHT IS OUR Second HIGH-TAU NIGHT
See other log - We got a good detection of the HCN 4-3 line on the center of B335. Its peak is 0.5 K with 0.05 RMS. This after 36 mins of "on-time". But after a LOT of set-up work and pointing. Probably 2 hours.
| AMAZING the tau is dropping steadily! It is now a | 12:20
tau of 0.058 and dropping. Will cycle SHARCII.
Taking High-Tau data until SharcII is cycled.
51269 | CAL_G45.1 Pointing & Focus | 14:43 | 0.043 | 1.18 | 258 | 31 | 70 | -84 | 82 | -0.2 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51270 | CAL_G45.1 Pointing & Focus | 14:51 | 0.048 | 1.2 | 259 | 33 | 70 | -94 | 86 | 0 |  |  |  |  | 50 |  | s5 | [5 empty] | 180
51271 | B335 Single Polarimetry File; | 14:59 | 0.049 | 1.173 | 251 | 31 | 64 | -95 | 87 | -0.2 |  |  |  |  | 50 | 22.5 | [5 empty] | 180 | 90
Meas Chop = 179.3; 55% effiecency
51272 -75 | B335 Course Dither | 15:16 | 0.04 | 1.225 | 254 | 35 | 66 | -95 | 87 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 180 | 90
File 74 ; yellow integ screen; blue on oneside and red on the other in the realtime screen ???
51276-79 | B335 Course Dither | 15:42 | 0.044 | 1.333 | 258 | 40 | 68 | -95 | 87 | -0.2 | -20 | -20 | 40 | 40 | 50 | 22.5 | [5 empty] | 180 | 90
Green Screen slowly goes yellow as source sets. No obvious detector noise.
Slowly going red with AM 1.48 at the end
END OF NIGHT
Date (yyyy-mm-dd): | 2010 June 7 UT
Observers: | JD, JP, JK
Observing conditions: | tau is hovering around 0.2, sky is clear; wind is low
Comments: | TONIGHT IS OUR third HIGH-TAU NIGHT
Tau is too high for HCN program. Will try and put together a high-tau program.
See other log
No good. Can't do this program either. Going down early.
Date (yyyy-mm-dd): | 2010 June 8 UT
Observers: | JK and NC
Observing conditions: | tau is hovering around 0.2, sky is clear; wind is low
Comments: | TONIGHT IS OUR fourth HIGH-TAU NIGHT
Doing a high-tau program put together by Jens. It is an extension of Di Li's HCO+ survey of Persius - but on rho-oph. Lots of good data taken until rho-oph set (3:30 am).
Date (yyyy-mm-dd): | 2010 June 8 UT
Observers: | JK and NC …JD
Observing conditions: | tau is hovering around 0.15, sky is clear; wind is HIGH
Comments: | TONIGHT IS OUR fifth HIGH-TAU NIGHT
Want to continue the HCO+ program - since the tau too high for te HCN program. BUT can't! Wind is too high. Dome is closed.